## Data Record
SP METROLOGY SYSTEM THAILAND | [8 empty] | Certificate No. |  |  | SPR15120012-1 | [12 empty] | Page | 1 | of | 1
[9 empty] | Receive Date |  |  | 2015-01-01 |  |  |  |  | Calibration Date |  |  |  | 2015-01-15
Equipment Name | [8 empty] | Temp & Humiduty |  |  |  | 20 |  | oC | 50 |  | %RH
Plain Ring Gauge | [8 empty] | Location |  |  |  | In Lab | [6 empty] | On Site
Customer Name : |  |  |  |  | SP METROLOGY SYSTEM (THAILAND) CO.,LTD.
Equipment Name : |  |  |  |  | Plain Ring Gauge | [6 empty] | Manufacturer : |  |  |  |  | N/A
Model : |  | 123 | [6 empty] | Serial No. : |  | 456 | [7 empty] | ID No : | 789
Range : |  | 0 |  | to | 10 |  | mm. |  |  | Resolution : | [8 empty] | Readability :
Overall Inspection | [5 empty] | Good |  |  | Not Good
Referance Standard : | [13 empty] | Due Date :
Referance Standard : | [13 empty] | Due Date :
1. Measurement Results
Nominal |  | Position | Measured Value | [18 empty] | Average |  | Repeatability | Error
Value |  |  | X-Axis ( mm ) | [9 empty] | Y-Axis ( mm )
( mm ) |  |  | 1 |  |  | 2 |  | 3 |  | 4 |  |  | 1 |  |  | 2 |  |  | 3 |  | 4 | X-AXIS | Y-AXIS
2.5 |  | 1/5T | 2.5 |  |  | 2.5 |  | 2.5 |  | 2.5 |  |  | 2.5 |  |  | 2.5 |  |  | 2.5 |  | 2.5 | 2.5 | 2.5 | 0 | 0
|  | 1/2T | 2.5 |  |  | 2.5 |  | 2.5 |  | 2.5 |  |  | 2.5 |  |  | 2.5 |  |  | 2.5 |  | 2.5 | 2.5 | 2.5
|  | 4/5T | 2.5 |  |  | 2.5 |  | 2.5 |  | 2.5 |  |  | 2.5 |  |  | 2.5 |  |  | 2.5 |  | 2.5 | 2.5 | 2.5
5.1 |  | 1/5T | 5.1 |  |  | 5.1 |  | 5.1 |  | 5.1 |  |  | 5.1 |  |  | 5.1 |  |  | 5.1 |  | 5.1 | 5.1 | 5.1 | 4.8648e-16 | 0
|  | 1/2T | 5.1 |  |  | 5.1 |  | 5.1 |  | 5.1 |  |  | 5.1 |  |  | 5.1 |  |  | 5.1 |  | 5.1 | 5.1 | 5.1
|  | 4/5T | 5.1 |  |  | 5.1 |  | 5.1 |  | 5.1 |  |  | 5.1 |  |  | 5.1 |  |  | 5.1 |  | 5.1 | 5.1 | 5.1
7.7 |  | 1/5T | 7.7 |  |  | 7.7 |  | 7.7 |  | 7.7 |  |  | 7.7 |  |  | 7.7 |  |  | 7.7 |  | 7.7 | 7.7 | 7.7 | 0 | 0
|  | 1/2T | 7.7 |  |  | 7.7 |  | 7.7 |  | 7.7 |  |  | 7.7 |  |  | 7.7 |  |  | 7.7 |  | 7.7 | 7.7 | 7.7
|  | 4/5T | 7.7 |  |  | 7.7 |  | 7.7 |  | 7.7 |  |  | 7.7 |  |  | 7.7 |  |  | 7.7 |  | 7.7 | 7.7 | 7.7
10 |  | 1/5T | 10 |  |  | 10 |  | 10 |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 10 | 10 | 10 | 0 | 0
|  | 1/2T | 10 |  |  | 10 |  | 10 |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 10 | 10 | 10
|  | 4/5T | 10 |  |  | 10 |  | 10 |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 10 | 10 | 10
12.9 |  | 1/5T | 12.9 |  |  | 12.9 |  | 12.9 |  | 12.9 |  |  | 12.9 |  |  | 12.9 |  |  | 12.9 |  | 12.9 | 12.9 | 12.9 | 0 | 0
|  | 1/2T | 12.9 |  |  | 12.9 |  | 12.9 |  | 12.9 |  |  | 12.9 |  |  | 12.9 |  |  | 12.9 |  | 12.9 | 12.9 | 12.9
|  | 4/5T | 12.9 |  |  | 12.9 |  | 12.9 |  | 12.9 |  |  | 12.9 |  |  | 12.9 |  |  | 12.9 |  | 12.9 | 12.9 | 12.9
15 |  | 1/5T | 15 |  |  | 15 |  | 15 |  | 15 |  |  | 15 |  |  | 15 |  |  | 15 |  | 15 | 15 | 15 | 0 | 0
|  | 1/2T | 15 |  |  | 15 |  | 15 |  | 15 |  |  | 15 |  |  | 15 |  |  | 15 |  | 15 | 15 | 15
|  | 4/5T | 15 |  |  | 15 |  | 15 |  | 15 |  |  | 15 |  |  | 15 |  |  | 15 |  | 15 | 15 | 15
Calibrated By |  |  |  | Ms. Arunkamon Raramanus
|  |  | 11 |  | Ms. Arunkamon Raramanus
| 8 |  | Mr. Vichan Ananta
| 9 |  | Mr.Kittikorn Kingmali
| 10 |  | Mr.Chainarong Matchayamat
| 11 |  | Ms. Arunkamon Raramanus

## Certificate
Certificate of Calibration
| Certificate Number |  |  |  | : | SPR15120012-1 | [7 empty] | Page : 1 of 3
| Customer |  |  |  | :
| Equipment Name |  |  |  | : | Plain Ring Gauge
| Manufacturer |  |  |  | : | N/A
| Model |  |  |  | : | 123
| Serial Number |  |  |  | : | 456
| ID. Number |  |  |  | : | 789
Environmental Conditions
| Ambient Temperature |  |  |  | : | 20 °C ± 1 °C | Received Date |  |  |  |  | : | 2015-01-01
| Relative Humidity |  |  |  | : | 50% ± 15 % | Calibration Date |  |  |  |  | : | 2015-01-15
| Location of Calibration |  |  |  | : | In-Lab | Recommended Due Date |  |  |  |  | : | 2016-01-15
| Calibration Procedure |  |  |  | : | SP-CPT-04-19
Method of Calibration
This certifies that the above instrument was calibrated in compliance with the calibration system
requirement of ISO/IEC 17025:2005 in accordance with reference procedure. Standards used to perform
this calibration are certified by to NIST or equivalent, National metrology institute, Natural physical constants,
consensus standards. The result reported herein apply only to the calibration of the item described above.
All calibrations are performed within manufacture's specifications.The calibration certificate shall not be
reproduced except in full,without written approval of SP Metrology System (Thailand).
| Date of Issue |  | : | 2015-01-16 |  |  | Approved by :
| Calibrated by |  | : | Ms. Arunkamon Raramanus |  |  |  | 3 | ( Mr. Natthaphol Boonmee )
Authorized Signatory
| 11 | Ms. Arunkamon Raramanus | [7 empty] | 1 | Mr.Sombut Srikampa
[10 empty] | 3 | Mr. Natthaphol Boonmee
Note on Q36: ระบุ ID ประจำตัวพนักงาน

## Report
Certificate Report
| Certificate Number |  | : | SPR15120012-1 |  |  |  | Page : 2 of 3
Reference Standards
| Equipment Name |  |  | Model | Serial No. | Certificate No. | Due. Date
| Universal Length Measuring |  |  | LMI 01-680 PC | 050021 | 1000959-1 | 2017-04-28
Traceability
This certification is traceable to the International System of Unit maintained at :
-The National Institute of Metrology ( Thailand ), NIMT.

## Result
Result of Calibration
| Certificate No. : |  | SPR15120012-1 |  |  |  |  | Page : 3 of 3
Measurement Positions
1) | Nominal Diameter
[8 empty] | Unit : | mm
| Nominal Diameter | Measurement Positions |  | Measured Values |  | Error |  | Uncertainty ( ± ) µm
|  |  |  | x-axis | y-axis | x-axis | y-axis
| 2.5 | 1/5 T |  | 2.5 | 2.5 | 0 | 0 | 0.44394
|  | 1/2 T |  | 2.5 | 2.5 | 0 | 0
|  | 4/5 T |  | 2.5 | 2.5 | 0 | 0
Measurement Uncertainty
The reported uncertainty of measurement is the expanded uncertainty obtained by multiplying the
standard uncertainty with the coverage factor k = 2.00, providing a level of confidence approximately 95%.
- End of Certificate -

## Uncertainty Budget
Uncertainty Budget of Plain Ring Gauge
Nominal Value | STD Ring Gauge |  | Uncert of ULM |  | Temperature Effect |  | Resolution of ULM |  | Repeatability |  | Uc | Ui | Veff | K95 | U95%
(mm) | (mm) |  | (mm) |  | (mm) |  | (mm) |  | (mm) | [5 empty] | (µm)
Value | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Value | Value | Value | Value
2.5 | 0.00037033 | 0.00018517 | 0.00021 | 0.00012124 | 2.875e-05 | 1.6599e-05 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00022197 | 0 | ∞ | 2 | 0.44394
5.1 | 0.00037033 | 0.00018517 | 0.00021 | 0.00012124 | 5.865e-05 | 3.3862e-05 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00022392 | 0 | ∞ | 2 | 0.44784
7.7 | 0.00037033 | 0.00018517 | 0.00021 | 0.00012124 | 8.855e-05 | 5.1124e-05 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00022717 | 0 | ∞ | 2 | 0.45435
10 | 0.00037033 | 0.00018517 | 0.00021 | 0.00012124 | 0.000115 | 6.6395e-05 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00023109 | 0 | ∞ | 2 | 0.46218
12.9 | 0.00037033 | 0.00018517 | 0.00023 | 0.00013279 | 0.00014835 | 8.565e-05 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00024344 | 0 | ∞ | 2 | 0.48688
15 | 0.00037033 | 0.00018517 | 0.00023 | 0.00013279 | 0.0001725 | 9.9593e-05 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00024869 | 0 | ∞ | 2 | 0.49738
Nominal Value (mm) | Position | σn-1 |  | u |  | σmax
|  | X-AXIS | Y-AXIS | X-AXIS | Y-AXIS
2.5 | 1/5T | 0 | 0 | 0 | 0 | 0
| 1/2T | 0 | 0 | 0 | 0
| 4/5T | 0 | 0 | 0 | 0
5.1 | 1/5T | 0 | 0 | 0 | 0 | 0
| 1/2T | 0 | 0 | 0 | 0
| 4/5T | 0 | 0 | 0 | 0
7.7 | 1/5T | 0 | 0 | 0 | 0 | 0
| 1/2T | 0 | 0 | 0 | 0
| 4/5T | 0 | 0 | 0 | 0
10 | 1/5T | 0 | 0 | 0 | 0 | 0
| 1/2T | 0 | 0 | 0 | 0
| 4/5T | 0 | 0 | 0 | 0
12.9 | 1/5T | 0 | 0 | 0 | 0 | 0
| 1/2T | 0 | 0 | 0 | 0
| 4/5T | 0 | 0 | 0 | 0
15 | 1/5T | 0 | 0 | 0 | 0 | 0
| 1/2T | 0 | 0 | 0 | 0
| 4/5T | 0 | 0 | 0 | 0
Note on D4: Certificate of Calibration STD Ring Gauge
Note on F4: Certificate of Calibration STD ULM
Note on H4: (Normal Value * 11.5*10^-6 * 1)
Note on E6: Divisor = 2
Note on G6: Divisor = √3
Note on I6: Divisor = √3
Note on K6: Divisor = √3
Note on M6: Divisor = 1

## Cert of STD
Certificate of Calibration (ULM) | [5 empty] | Certificate of Calibration (Ring Gauge) |  |  |  |  | Certificate of Calibration (Ring Gauge) | [5 empty] | Certificate of Calibration (Ring Gauge)
SP-SD-001 | [5 empty] | SP-SD-007 |  |  |  |  | SP-SD-003 | [5 empty] | SP-SD-004
Due Date |  |  | 2016-04-28 |  |  | Due Date |  |  |  |  | Due Date |  |  | 2016-06-04 |  |  | Due Date
1 | mm | 0.21 | µm | 0.00021 | mm | 2 | X | µm | 0 | mm | 13.9962 | X | 0.37033 | µm | 0.00037033 | mm | 49.9965 | X | µm | 0 | mm
1.01 | mm | 0.21 | µm | 0.00021 | mm |  | Y | µm | 0 | mm |  | Y | 0.37033 | µm | 0.00037033 | mm |  | Y | µm | 0 | mm
1.05 | mm | 0.21 | µm | 0.00021 | mm | 3 | X | µm | 0 | mm
1.1 | mm | 0.21 | µm | 0.00021 | mm |  | Y | µm | 0 | mm
2 | mm | 0.21 | µm | 0.00021 | mm | 4 | X | µm | 0 | mm
5 | mm | 0.21 | µm | 0.00021 | mm |  | Y | µm | 0 | mm
10 | mm | 0.21 | µm | 0.00021 | mm | 5 | X | µm | 0 | mm
20 | mm | 0.23 | µm | 0.00023 | mm |  | Y | µm | 0 | mm
30 | mm | 0.27 | µm | 0.00027 | mm | 6 | X | µm | 0 | mm
40 | mm | 0.27 | µm | 0.00027 | mm |  | Y | µm | 0 | mm
50 | mm | 0.27 | µm | 0.00027 | mm | 8 | X | µm | 0 | mm
60 | mm | 0.32 | µm | 0.00032 | mm |  | Y | µm | 0 | mm
70 | mm | 0.32 | µm | 0.00032 | mm | 10 | X | µm | 0 | mm
80 | mm | 0.39 | µm | 0.00039 | mm |  | Y | µm | 0 | mm
90 | mm | 0.39 | µm | 0.00039 | mm | 12 | X | µm | 0 | mm
100 | mm | 0.39 | µm | 0.00039 | mm |  | Y | µm | 0 | mm
[6 empty] | 16 | X | µm | 0 | mm
[7 empty] | Y | µm | 0 | mm
[6 empty] | 18 | X | µm | 0 | mm
[7 empty] | Y | µm | 0 | mm
[6 empty] | 20 | X | µm | 0 | mm
[7 empty] | Y | µm | 0 | mm
[6 empty] | 22 | X | µm | 0 | mm
[7 empty] | Y | µm | 0 | mm
[6 empty] | 25 | X | µm | 0 | mm
[7 empty] | Y | µm | 0 | mm
[6 empty] | 28 | X | µm | 0 | mm
[7 empty] | Y | µm | 0 | mm
[6 empty] | 30 | X | µm | 0 | mm
[7 empty] | Y | µm | 0 | mm
[6 empty] | 75 | X | µm | 0 | mm
[7 empty] | Y | µm | 0 | mm
Note on B5: Universal Length Measuring
Note on E6: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on L6: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on S6: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on Z6: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on B7: Normal Value (mm)
Note on D7: มาจากค่าความไม่แน่นอนของการวัด ULM
Note on F7: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน
Note on K7: Nathaphol Boonmee: มาจากค่าความไม่แน่นอนของการวัด Plain Ring Gauge
Note on M7: Nathaphol Boonmee: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน
Note on R7: Nathaphol Boonmee: มาจากค่าความไม่แน่นอนของการวัด Gauge Block
Note on T7: Nathaphol Boonmee: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน
Note on Y7: Nathaphol Boonmee: มาจากค่าความไม่แน่นอนของการวัด Gauge Block
Note on AA7: Nathaphol Boonmee: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน