## Data
SP METROLOGY SYSTEM THAILAND | [6 empty] | Certificate No. : |  |  |  | SPR15120012-1 | [6 empty] | Page | 1 | of | 1
[7 empty] | Receive Date : |  |  | 2015-12-12 |  |  |  | Calibration Date : |  |  |  | 2015-12-13
Equipment Name | [6 empty] | Temp & Humiduty : |  |  |  | 20 | oC | 50 | %RH
Hole Test | [6 empty] | Location |  |  |  |  | In Lab |  |  |  |  | On Site
Customer Name : |  |  | SP METROLOGY SYSTEM (THAILAND) CO.,LTD.
Equipment Name : |  |  | Hole Test | [7 empty] | Manufacturer : |  |  | POU
Model : | 123 | [5 empty] | Serial No. : |  |  | 456 |  |  |  |  | ID No :
Range : | 0 | to | 5 | mm |  | Resolution : |  |  | 0.001 |  | mm
Overall Inspection |  |  |  |  | Good |  |  | Not Good
Referance Standard : |  |  |  | ghfgh | [5 empty] | Due Date : |  |  | tyi7y
[19 empty] | Unit : |  | mm
Nominal | UUC Reading | [14 empty] | Error |  |  | Repeatability
Value | X1 |  |  | X2 |  |  | X3 |  |  | X4 |  |  | Average
2 | 2 |  |  | 2 |  |  | 2 |  |  | 2 |  |  | 2 |  |  | 0 |  |  | 0
3 | 3 |  |  | 3 |  |  | 3 |  |  | 3 |  |  | 3 |  |  | 0 |  |  | 0
4 | 4 |  |  | 4 |  |  | 4 |  |  | 4 |  |  | 4 |  |  | 0 |  |  | 0
5 | 5 |  |  | 5 |  |  | 5 |  |  | 5 |  |  | 5 |  |  | 0 |  |  | 0
10 | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | -4 |  |  | 0
20 | 7 |  |  | 7 |  |  | 7 |  |  | 7 |  |  | 7 |  |  | -13 |  |  | 0
50 | 8 |  |  | 8 |  |  | 8 |  |  | 8 |  |  | 8 |  |  | -42 |  |  | 0
100 | 9 |  |  | 9 |  |  | 9 |  |  | 9 |  |  | 9 |  |  | -91 |  |  | 0
150 | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | -140 |  |  | 0
200 | 11 |  |  | 11 |  |  | 11 |  |  | 11 |  |  | 11 |  |  | -189 |  |  | 0
250 | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | -238 |  |  | 0
300 | 13 |  |  | 13 |  |  | 13 |  |  | 13 |  |  | 13 |  |  | -287 |  |  | 0
Calibrated By :

## Certificate
Certificate of Calibration
| Certificate Number |  |  | : | SPR15120012-1 |  |  |  |  | Page : 1 of 3
| Customer |  |  | : | SP METROLOGY SYSTEM (THAILAND) CO.,LTD.
88/115, Moo 3, T. Klongsam
A. Klongluang, Pathumthani 12120
| Equipment Name |  |  | : | Hole Test
| Manufacturer |  |  | : | POU
| Model |  |  | : | 123
| Serial Number |  |  | : | 456
| ID. Number |  |  | : | 0
| Received Date |  |  | : | 2016-01-01
| Calibration Date |  |  | : | 2016-01-01
| Recommended Due Date |  |  | : | N/A
Environmental Conditions
| Ambient Temperature |  |  | : | 20 °C | ± 1 °C
| Relative Humidity |  |  | : | 50% | ± 15 %
| Location of Calibration |  |  | : | In-Lab
Method of Calibration
This certifies that the above instrument was calibrated in compliance with the calibration system
requirement of ISO/IEC 17025:2005 in accordance with reference procedure. standards used to perform this
calibration are certified by to NIST or equivalent, National metrology institute, Natural physical constants,
consensus standards. the result reported herein apply only to the calibration of the item described above.
all calibrations are performed manufacture's specifications, full, without the expressed written consent of
SP Metrology System (Thailand).
| Date of Issue : |  | 2016-01-02 |  |  |  | Approved by :
[8 empty] | 3 | ( Mr. Natthaphol Boonmee )
| Calibrated by : |  | Ms. Arunkamon Raramanus | [5 empty] | Authorized Signatory
Note on O39: ระบุ ID ประจำตัวพนักงาน

## Report
Certificate Report
| Certificate Number |  | : | SPR15120012-1 |  |  |  |  | Page : 2 of 3
Reference Standards
| Equipment Name |  |  |  | Model | Serial No. | Certificate No. | Due. Date
| Plain Ring Gauge |  |  |  | N/A | N/A | 15L6377 | 2017-10-31
Traceability
This certification is traceable to the International System of Unit maintained at :
-The National Institute of Metrology ( Thailand ), NIMT.

## Result
Result of Calibration
| Certificate No. : |  |  | SPR15120012-1 | [5 empty] | Page : 3 of 3
1) | [7 empty] | Unit : | mm
|  |  | Nominal Value |  | UUC Reading | Error | Uncertainty ( ± ) µm
|  |  | 2 |  | 2 | 0 | 0.63414
|  |  | 3 |  | 3 | 0 | 0.63484
|  |  | 4 |  | 4 | 0 | 0.73902
Measurement Uncertainty
The reported uncertainty of measurement is the expanded uncertainty obtained by multiplying the
standard uncertainty with the coverage factor k = 2.00, providing a level of confidence approximately 95%.
- End of Certificate -

## Uncertainty Budget
Uncertainty Budget of Hole Test / Three-Point Internal Micrometer
Nominal Value | Uncert of STD Ring Gauge |  | Temperature Effect |  | Resolution of UUC |  | Repeatability |  | Uc | Ui | Veff | K95 | U95%
(mm) | (mm) |  | (mm) |  | (mm) |  | (mm) | [5 empty] | (µm)
Value | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Value | Value | Value | Value
2 | 0.00059 | 0.000295 | 2.3e-05 | 1.3279e-05 | 0.0002 | 0.00011547 | 0 | 0 | 0.00031707 | 0 | ∞ | 2 | 0.63414
3 | 0.00059 | 0.000295 | 3.45e-05 | 1.9919e-05 | 0.0002 | 0.00011547 | 0 | 0 | 0.00031742 | 0 | ∞ | 2 | 0.63484
4 | 0.0007 | 0.00035 | 4.6e-05 | 2.6558e-05 | 0.0002 | 0.00011547 | 0 | 0 | 0.00036951 | 0 | ∞ | 2 | 0.73902
5 | 0.0007 | 0.00035 | 5.75e-05 | 3.3198e-05 | 0.0002 | 0.00011547 | 0 | 0 | 0.00037005 | 0 | ∞ | 2 | 0.7401
6 | 0.00075 | 0.000375 | 6.9e-05 | 3.9837e-05 | 0.0002 | 0.00011547 | 0 | 0 | 0.00039439 | 0 | ∞ | 2 | 0.78878
8 | 0.00075 | 0.000375 | 9.2e-05 | 5.3116e-05 | 0.0002 | 0.00011547 | 0 | 0 | 0.00039595 | 0 | ∞ | 2 | 0.79191
10 | 0.0008 | 0.0004 | 0.000115 | 6.6395e-05 | 0.0002 | 0.00011547 | 0 | 0 | 0.00042159 | 0 | ∞ | 2 | 0.84319
12 | 0.00087 | 0.000435 | 0.000138 | 7.9674e-05 | 0.0002 | 0.00011547 | 0 | 0 | 0.00045706 | 0 | ∞ | 2 | 0.91413
16 | 0.00099 | 0.000495 | 0.000184 | 0.00010623 | 0.0002 | 0.00011547 | 0 | 0 | 0.00051927 | 0 | ∞ | 2 | 1.0385
18 | 0.00099 | 0.000495 | 0.000207 | 0.00011951 | 0.0002 | 0.00011547 | 0 | 0 | 0.00052215 | 0 | ∞ | 2 | 1.0443
20 | 0.0011 | 0.00055 | 0.00023 | 0.00013279 | 0.0002 | 0.00011547 | 0 | 0 | 0.00057747 | 0 | ∞ | 2 | 1.1549
22 | 0.0012 | 0.0006 | 0.000253 | 0.00014607 | 0.0002 | 0.00011547 | 0 | 0 | 0.00062823 | 0 | ∞ | 2 | 1.2565
25 | 0.0012 | 0.0006 | 0.0002875 | 0.00016599 | 0.0002 | 0.00011547 | 0 | 0 | 0.00063316 | 0 | ∞ | 2 | 1.2663
28 | 0.0014 | 0.0007 | 0.000322 | 0.00018591 | 0.0002 | 0.00011547 | 0 | 0 | 0.00073341 | 0 | ∞ | 2 | 1.4668
30 | 0.0014 | 0.0007 | 0.000345 | 0.00019919 | 0.0002 | 0.00011547 | 0 | 0 | 0.00073689 | 0 | ∞ | 2 | 1.4738
75 | 0.0028 | 0.0014 | 0.0008625 | 0.00049796 | 0.0002 | 0.00011547 | 0 | 0 | 0.0014904 | 0 | ∞ | 2 | 2.9808
Note on D4: Certificate of Calibration STD Ring Gauge
Note on F4: (Normal Value * 11.5*10^-6 * 1)
Note on E6: Divisor = 2
Note on G6: Divisor = √3
Note on I6: Divisor = √3
Note on K6: Divisor = 1

## Cert of STD
Certificate of Calibration (Ring Gauge)
SP-SD-007
Due Date |  |  | 2016-10-08
2 | 0.59 | µm | 0.00059 | mm
3 | 0.59 | µm | 0.00059 | mm
4 | 0.7 | µm | 0.0007 | mm
5 | 0.7 | µm | 0.0007 | mm
6 | 0.75 | µm | 0.00075 | mm
8 | 0.75 | µm | 0.00075 | mm
10 | 0.8 | µm | 0.0008 | mm
12 | 0.87 | µm | 0.00087 | mm
16 | 0.99 | µm | 0.00099 | mm
18 | 0.99 | µm | 0.00099 | mm
20 | 1.1 | µm | 0.0011 | mm
22 | 1.2 | µm | 0.0012 | mm
25 | 1.2 | µm | 0.0012 | mm
28 | 1.4 | µm | 0.0014 | mm
30 | 1.4 | µm | 0.0014 | mm
75 | 2.8 | µm | 0.0028 | mm
Note on D4: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on E4: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on C5: Nathaphol Boonmee: มาจากค่าความไม่แน่นอนของการวัด Plain Ring Gauge
Note on E5: Nathaphol Boonmee: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน