## Data Record
SP METROLOGY SYSTEM THAILAND | [5 empty] | Certificate No. : |  |  |  | SPR15120012-1 | [6 empty] | Page |  | 1 | of | 1
[6 empty] | Receive Date : |  |  |  | 2015-01-11 |  |  |  | Calibration Date : |  |  |  | 2015-01-12
Equipment Name | [5 empty] | Temp & Humiduty : |  |  |  |  | 20 | oC | 50 | %RH
Charmfer Gauge | [5 empty] | Location |  |  |  |  | In Lab |  |  |  |  | On Site
Customer Name : |  |  | SP METROLOGY SYSTEM (THAILAND) CO.,LTD.
Equipment Name : |  |  | Charmfer Gauge | [6 empty] | Manufacturer : |  |  |  | Mitutoyo
Model : | 123 |  |  |  | Serial No. : |  |  | 456 | [6 empty] | ID No : |  | 789
Overall Inspection |  |  |  | Good |  |  | Not Good
Referance Standard : | [11 empty] | Due Date :
Nominal Value |  | Positions |  | Standard Reading | [6 empty] | Average |  |  |  | Error |  |  | Repeatability
|  |  |  | 1 | 2 |  | 3 |  | 4
2 |  | L1 |  | 2 | 2 |  | 2 |  | 2 |  | 2 |  |  |  | 0 |  |  | 0
|  | L2 |  | 2 | 2 |  | 2 |  | 2
3 |  | L1 |  | 2 | 2 |  | 2 |  | 2 |  | 2 |  |  |  | 1 |  |  | 0
|  | L2 |  | 2 | 2 |  | 2 |  | 2
4 |  | L1 |  | 2 | 2 |  | 2 |  | 2 |  | 2 |  |  |  | 2 |  |  | 0
|  | L2 |  | 2 | 2 |  | 2 |  | 2
5 |  | L1 |  | 2 | 2 |  | 2 |  | 2 |  | 2 |  |  |  | 3 |  |  | 0
|  | L2 |  | 2 | 2 |  | 2 |  | 2
6 |  | L1 |  | 2 | 2 |  | 2 |  | 2 |  | 2 |  |  |  | 4 |  |  | 0
|  | L2 |  | 2 | 2 |  | 2 |  | 2
7 |  | L1 |  | 2 | 2 |  | 2 |  | 2 |  | 2 |  |  |  | 5 |  |  | 0
|  | L2 |  | 2 | 2 |  | 2 |  | 2
8 |  | L1 |  | 2 | 2 |  | 2 |  | 2 |  | 2 |  |  |  | 6 |  |  | 0
|  | L2 |  | 2 | 2 |  | 2 |  | 2
9 |  | L1 |  | 2 | 2 |  | 2 |  | 2 |  | 2 |  |  |  | 7 |  |  | 0
|  | L2 |  | 2 | 2 |  | 2 |  | 2
10 |  | L1 |  | 2 | 2 |  | 2 |  | 2 |  | 2 |  |  |  | 8 |  |  | 0
|  | L2 |  | 2 | 2 |  | 2 |  | 2
11 |  | L1 |  | 2 | 2 |  | 2 |  | 2 |  | 2 |  |  |  | 9 |  |  | 0
|  | L2 |  | 2 | 2 |  | 2 |  | 2
Calibrated By :

## Certificate
Certificate of Calibration
| Certificate Number |  |  | : | SPR15120012-1 |  |  |  |  | Page : 1 of 3
| Customer |  |  | : | SP METROLOGY SYSTEM (THAILAND) CO.,LTD.
| Equipment Name |  |  | : | Charmfer Gauge
| Manufacturer |  |  | : | Mitutoyo
| Model |  |  | : | 0
| Serial Number |  |  | : | 0
| ID. Number |  |  | : | 0
| Received Date |  |  | : | 2015-01-11
| Calibration Date |  |  | : | 0
| Recommended Due Date |  |  | : | 1900-12-31
Environmental Conditions
| Ambient Temperature |  |  | : | 20 °C | ± 1 °C
| Relative Humidity |  |  | : | 50% | ± 15 %
| Location of Calibration |  |  | : | In-Lab
Method of Calibration
This certifies that the above instrument was calibrated in compliance with the calibration system
requirement of ISO/IEC 17025:2005 in accordance with reference procedure. standards used to perform this
calibration are certified by to NIST or equivalent, National metrology institute, Natural physical constants,
consensus standards. the result reported herein apply only to the calibration of the item described above.
| all calibrations are performed manufacture's specifications, full, without the expressed written consent of | [9 empty] | 1 | Mr.Sombut Srikampa
| SP Metrology System (Thailand). | [9 empty] | 3 | Mr. Natthaphol Boonmee
[11 empty] | 8 | Mr. Vichan Ananta
[11 empty] | 9 | Mr.Kittikorn Kingmali
| Date of Issue : |  | 1899-12-31 |  |  |  | Approved by : |  |  |  | 10 | Mr.Chainarong Matchayamat
[8 empty] | 3 | ( Mr. Natthaphol Boonmee ) |  | 11 | Ms. Arunkamon Raramanus
| Calibrated by : |  | Ms. Arunkamon Raramanus | [5 empty] | Authorized Signatory
Note on O39: ระบุ ID ประจำตัวพนักงาน

## Report
Certificate Report
| Certificate Number |  | : | SPR15120012-1 |  |  | Page : 2 of 3
Reference Standards
| Equipment Name |  |  | Model | Serial No. | Certificate No. | Due. Date
| 3D Vision Measuring Machine |  |  | D3020-T | 110021 | MTO 150453-1 | 2016-06-26
Traceability
This certification is traceable to the International System of Unit maintained at :
-The National Institute of Metrology ( Thailand ), NIMT.

## Result
Result of Calibration
|  | Certificate No. : |  | SPR15120012-1 |  |  |  |  | Page : 3 of 3
[8 empty] | Unit : | mm
|  |  | Nominal Value |  | STD Reading | Error | Uncertainty ( ± ) µm
|  |  | 2 |  | 2 | 0 | 3.0007
|  |  | 3 |  | 2 | 1 | 3.0008
|  |  | 4 |  | 2 | 2 | 3.001
|  |  | 5 |  | 2 | 3 | 3.0013
|  |  | 6 |  | 2 | 4 | 3.0016
|  |  | 7 |  | 2 | 5 | 3.002
|  |  | 8 |  | 2 | 6 | 3.0024
|  |  | 9 |  | 2 | 7 | 3.0029
|  |  | 10 |  | 2 | 8 | 3.0035
|  |  | 11 |  | 2 | 9 | 3.0041
Measurement Uncertainty
The reported uncertainty of measurement is the expanded uncertainty obtained by multiplying the
standard uncertainty with the coverage factor k = 2.00, providing a level of confidence approximately 95 %
- End of Certificate -

## Uncertainty Budget
Uncertainty Budget of Chamfer Gauge
Nominal Value | Repeatability |  | Uncert of 3D Vision |  | Temperature Effect |  | Resolution of 3D Vision |  | Uc | Ui | Veff | K95 | U95%
(mm) | (mm) |  | (mm) |  | (mm) |  | (mm) | [5 empty] | (µm)
Value | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Value | Value | Value | Value
2 | 0 | 0 | 0.003 | 0.0015 | 2.3e-05 | 1.3279e-05 | 5e-05 | 2.8868e-05 | 0.0015003 | 0 | ∞ | 2 | 3.0007
3 | 0 | 0 | 0.003 | 0.0015 | 3.45e-05 | 1.9919e-05 | 5e-05 | 2.8868e-05 | 0.0015004 | 0 | ∞ | 2 | 3.0008
4 | 0 | 0 | 0.003 | 0.0015 | 4.6e-05 | 2.6558e-05 | 5e-05 | 2.8868e-05 | 0.0015005 | 0 | ∞ | 2 | 3.001
5 | 0 | 0 | 0.003 | 0.0015 | 5.75e-05 | 3.3198e-05 | 5e-05 | 2.8868e-05 | 0.0015006 | 0 | ∞ | 2 | 3.0013
6 | 0 | 0 | 0.003 | 0.0015 | 6.9e-05 | 3.9837e-05 | 5e-05 | 2.8868e-05 | 0.0015008 | 0 | ∞ | 2 | 3.0016
7 | 0 | 0 | 0.003 | 0.0015 | 8.05e-05 | 4.6477e-05 | 5e-05 | 2.8868e-05 | 0.001501 | 0 | ∞ | 2 | 3.002
8 | 0 | 0 | 0.003 | 0.0015 | 9.2e-05 | 5.3116e-05 | 5e-05 | 2.8868e-05 | 0.0015012 | 0 | ∞ | 2 | 3.0024
9 | 0 | 0 | 0.003 | 0.0015 | 0.0001035 | 5.9756e-05 | 5e-05 | 2.8868e-05 | 0.0015015 | 0 | ∞ | 2 | 3.0029
10 | 0 | 0 | 0.003 | 0.0015 | 0.000115 | 6.6395e-05 | 5e-05 | 2.8868e-05 | 0.0015017 | 0 | ∞ | 2 | 3.0035
11 | 0 | 0 | 0.003 | 0.0015 | 0.0001265 | 7.3035e-05 | 5e-05 | 2.8868e-05 | 0.0015021 | 0 | ∞ | 2 | 3.0041
Note on F4: Certificate of Calibration 3D Vision
Note on H4: (Normal Value * 11.5*10^-6 * 1)
Note on E6: Divisor = 1
Note on G6: Divisor = 2
Note on I6: Divisor = √3
Note on K6: Divisor = √3

## Cert of STD
Certificate of Calibration (3D)
SP-SD-005
Due Date |  |  |  |  | 2016-06-26
X - Axis |  |  |  |  | Y - Axis
0 | 3 | µm | 0.003 | mm | 0 | 3 | µm | 0.003 | mm
5 | 3 | µm | 0.003 | mm | 5 | 3 | µm | 0.003 | mm
10 | 3 | µm | 0.003 | mm | 10 | 3 | µm | 0.003 | mm
30 | 3 | µm | 0.003 | mm | 30 | 3 | µm | 0.003 | mm
50 | 3 | µm | 0.003 | mm | 50 | 3 | µm | 0.003 | mm
80 | 3 | µm | 0.003 | mm | 80 | 3 | µm | 0.003 | mm
100 | 3 | µm | 0.003 | mm | 100 | 3 | µm | 0.003 | mm
150 | 3 | µm | 0.003 | mm | 150 | 3 | µm | 0.003 | mm
200 | 3 | µm | 0.003 | mm | 200 | 3 | µm | 0.003 | mm
250 | 3 | µm | 0.003 | mm
300 | 3 | µm | 0.003 | mm
Note on C5: Nathaphol Boonmee: มาจากค่าความไม่แน่นอนของการวัด Gauge Block
Note on E5: Nathaphol Boonmee: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน
Note on H5: Nathaphol Boonmee: มาจากค่าความไม่แน่นอนของการวัด Gauge Block
Note on J5: Nathaphol Boonmee: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน