## Data Record
SP METROLOGY SYSTEM THAILAND | [7 empty] | Certificate No. : |  | SPR15120023-1 | [8 empty] | Page |  | 1 | of | 1
[8 empty] | Receive Date : |  | 2015-12-12 |  |  |  | Calibration Date : |  |  |  |  | 2015-12-12
Equipment Name | [7 empty] | Temp & Humiduty : |  |  | 20 | °C | 50 | %RH
Long Gauge Block | [7 empty] | Location |  | In Lab
Customer Name : |  |  | LG
Equipment Name : |  |  | Long Gauge Block |  |  |  |  | Manufacturer : |  | Mittutoyo |  |  |  |  | Model : |  |  | 123
Serial No. : |  | sdfdthj |  |  |  | ID No : |  | 123 |  | Range : |  |  | 0 |  | to | 300 |  | mm
Overall Inspection |  |  |  | Good |  |  | Not Good
Referance Standard : | [9 empty] | Due Date :
Referance Standard : | [9 empty] | Due Date :
[20 empty] | Unit : |  | mm
Nominal Lengh | Position Point |  | UUC Error | [7 empty] | l c |  |  | f o |  |  | f u |  |  | Repeatability
|  |  | X1 |  | X2 |  |  | X3 | X4
100 | C |  | 0.0001 |  | 0.0001 |  |  | 0.0001 | 0.0001 |  | 0.0001 |  |  | -0.0001 |  |  | 0.0003 |  |  | 0
| 1 |  | -0.0002 |  | -0.0002 |  |  | -0.0002 | -0.0002 |  | -0.0002
| 2 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
S/N | 3 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
11 | 4 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
125 | C |  | 0.0001 |  | 0.0001 |  |  | 0.0001 | 0.0001 |  | 0.0001 |  |  | -0.0001 |  |  | 0.0003 |  |  | 0
| 1 |  | -0.0002 |  | -0.0002 |  |  | -0.0002 | -0.0002 |  | -0.0002
| 2 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
S/N | 3 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
22 | 4 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
150 | C |  | 0.0001 |  | 0.0001 |  |  | 0.0001 | 0.0001 |  | 0.0001 |  |  | -0.0001 |  |  | 0.0003 |  |  | 0
| 1 |  | -0.0002 |  | -0.0002 |  |  | -0.0002 | -0.0002 |  | -0.0002
| 2 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
S/N | 3 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
33 | 4 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
175 | C |  | 0.0001 |  | 0.0001 |  |  | 0.0001 | 0.0001 |  | 0.0001 |  |  | -0.0001 |  |  | 0.0003 |  |  | 0
| 1 |  | -0.0002 |  | -0.0002 |  |  | -0.0002 | -0.0002 |  | -0.0002
| 2 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
S/N | 3 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
44 | 4 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
200 | C |  | 0.0001 |  | 0.0001 |  |  | 0.0001 | 0.0001 |  | 0.0001 |  |  | -0.0001 |  |  | 0.0003 |  |  | 0
| 1 |  | -0.0002 |  | -0.0002 |  |  | -0.0002 | -0.0002 |  | -0.0002
| 2 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
S/N | 3 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
55 | 4 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
250 | C |  | 0.0001 |  | 0.0001 |  |  | 0.0001 | 0.0001 |  | 0.0001 |  |  | -0.0001 |  |  | 0.0003 |  |  | 0
| 1 |  | -0.0002 |  | -0.0002 |  |  | -0.0002 | -0.0002 |  | -0.0002
| 2 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
S/N | 3 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
66 | 4 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
300 | C |  | 0.0001 |  | 0.0001 |  |  | 0.0001 | 0.0001 |  | 0.0001 |  |  | -0.0001 |  |  | 0.0003 |  |  | 0
| 1 |  | -0.0002 |  | -0.0002 |  |  | -0.0002 | -0.0002 |  | -0.0002
| 2 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
S/N | 3 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
77 | 4 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
400 | C |  | 0.0001 |  | 0.0001 |  |  | 0.0001 | 0.0001 |  | 0.0001 |  |  | -0.0001 |  |  | 0.0003 |  |  | 0
| 1 |  | -0.0002 |  | -0.0002 |  |  | -0.0002 | -0.0002 |  | -0.0002
| 2 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
S/N | 3 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
88 | 4 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
500 | C |  | 0.0001 |  | 0.0001 |  |  | 0.0001 | 0.0001 |  | 0.0001 |  |  | -0.0001 |  |  | 0.0003 |  |  | 0
| 1 |  | -0.0002 |  | -0.0002 |  |  | -0.0002 | -0.0002 |  | -0.0002
| 2 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
S/N | 3 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
99 | 4 |  | 0 |  | 0 |  |  | 0 | 0 |  | 0
Calibrate by:

## Certificate
Certificate of Calibration
| Certificate Number |  |  |  | : | SPR15120023-1 | [5 empty] | Page : 1 of 3
| Customer |  |  |  | : | LG
| Equipment Name |  |  |  | : | Long Gauge Block
| Manufacturer |  |  |  | : | Mittutoyo
| Model |  |  |  | : | 1900-05-02
| Serial Number |  |  |  | : | sdfdthj
| ID. Number |  |  |  | : | 123
Environmental Conditions
| Ambient Temperature |  |  |  |  | : | 20 °C ± 1 °C |  | Received Date |  |  | : | 2015-12-12
| Relative Humidity |  |  |  |  | : | 50% ± 15 % |  | Calibration Date |  |  | : | 2015-12-12
| Location of Calibration |  |  |  |  | : | In-Lab |  | Recommended Due Date |  |  | : | 2016-12-11
| Calibration Procedure |  |  |  |  | : | SP-CPT-04-41
Method of Calibration
This certifies that the above instrument was calibrated in compliance with the calibration system
requirement of ISO/IEC 17025:2005 in accordance with reference procedure. Standards used to perform
this calibration are certified by to NIST or equivalent, National metrology institute, Natural physical constants,
consensus standards. The result reported herein apply only to the calibration of the item described above.
All calibrations are performed within manufacture's specifications.The calibration certificate shall not be
reproduced except in full,without written approval of SP Metrology System (Thailand).
| Date of Issue |  | : | 2015-12-13 |  |  |  | Approved by :
| Calibrated by |  | : | Ms. Arunkamon Raramanus |  |  |  |  | 3 |  | ( Mr. Natthaphol Boonmee )
Authorized Signatory
| 11 | Ms. Arunkamon Raramanus | [7 empty] | 1 | Mr.Sombut Srikampa
[10 empty] | 3 | Mr. Natthaphol Boonmee
Note on Q37: ระบุ ID ประจำตัวพนักงาน

## Report
Certificate Report
| Certificate Number |  | : | SPR15120023-1 |  |  | Page : 2 of 3
Reference Standards
| Equipment Name |  |  | Model | Serial No. | Certificate No. | Due. Date
| Universal Length Measuring |  |  | LMI 01-680 PC | 050021 | 1000959-1 | 2017-04-28
Traceability
This certification is traceable to the International System of Unit maintained at :
-The National Institute of Metrology ( Thailand ), NIMT.

## Result
Result of Calibration
| Certificate No. : |  |  | SPR15120023-1 | [5 empty] | Page : 3 of 4
[9 empty] | Unit : | mm
|  | Nominal Value | Serial No. |  | l c | f o | f u | Uncertainty ( ± ) µm
|  | 100 | 11 |  | 0.0001 | -0.0001 | 0.0003 | 1.3346
|  | 125 | 22 |  | 0.0001 | -0.0001 | 0.0003 | 1.7132
|  | 150 | 33 |  | 0.0001 | -0.0001 | 0.0003 | 2.0474
|  | 175 | 44 |  | 0.0001 | -0.0001 | 0.0003 | 2.3798
|  | 200 | 55 |  | 0.0001 | -0.0001 | 0.0003 | 2.7128
|  | 250 | 66 |  | 0.0001 | -0.0001 | 0.0003 | 3.3795
|  | 300 | 77 |  | 0.0001 | -0.0001 | 0.0003 | 4.0469
|  | 400 | 88 |  | 0.0001 | -0.0001 | 0.0003 | 5.386
|  | 500 | 99 |  | 0.0001 | -0.0001 | 0.0003 | 6.7303
[6 empty] | lc - ln | Deviation in length from the norminal length
of the central length
[6 empty] | fo = lmax - lc | Deviation of Maximum Length
from the Central Length
[6 empty] | fu = lc - lmin | Deviation of Minimum Length
from the Central Length
[6 empty] | V = lmax - lmin | Variation in Length
[6 empty] | ln | Nominal Length
[6 empty] | lc | Central Length
[6 empty] | lmax | Maximum Length
[6 empty] | lmin | Minimum Length
Measurement Uncertainty
The reported uncertainty of measurement is the expanded uncertainty obtained by multiplying the
standard uncertainty with the coverage factor k = 2.00, providing a level of confidence approximately 95 %
- End of Certificate -

## Uncertainty Budget
Uncertainty Budget of Long Gauge Block (Grade 1, 2)
Nominal Value | Repeatability |  | Uncertainty of GB |  | Contact Deformation |  | Temperature Effect |  | Resolution of ULM |  | Uc | Ui | Veff | K95 | U95%
(mm) | (mm) |  | (mm) |  | (mm) |  | (mm) |  | (mm) | [5 empty] | (µm)
Value | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Value | Value | Value | Value
100 | 0 | 0 | 0.00012 | 6e-05 | 0 | 0 | 0.00115 | 0.00066395 | 5e-05 | 2.8868e-05 | 0.00066728 | 0 | ∞ | 2 | 1.3346
125 | 0 | 0 | 0.00042 | 0.00021 | 0 | 0 | 0.0014375 | 0.00082994 | 5e-05 | 2.8868e-05 | 0.00085658 | 0 | ∞ | 2 | 1.7132
150 | 0 | 0 | 0.00047 | 0.000235 | 0 | 0 | 0.001725 | 0.00099593 | 5e-05 | 2.8868e-05 | 0.0010237 | 0 | ∞ | 2 | 2.0474
175 | 0 | 0 | 0.00051 | 0.000255 | 0 | 0 | 0.0020125 | 0.0011619 | 5e-05 | 2.8868e-05 | 0.0011899 | 0 | ∞ | 2 | 2.3798
200 | 0 | 0 | 0.00055 | 0.000275 | 0 | 0 | 0.0023 | 0.0013279 | 5e-05 | 2.8868e-05 | 0.0013564 | 0 | ∞ | 2 | 2.7128
250 | 0 | 0 | 0.00063 | 0.000315 | 0 | 0 | 0.002875 | 0.0016599 | 5e-05 | 2.8868e-05 | 0.0016898 | 0 | ∞ | 2 | 3.3795
300 | 0 | 0 | 0.00071 | 0.000355 | 0 | 0 | 0.00345 | 0.0019919 | 5e-05 | 2.8868e-05 | 0.0020235 | 0 | ∞ | 2 | 4.0469
400 | 0 | 0 | 0.00089 | 0.000445 | 0 | 0 | 0.0046 | 0.0026558 | 5e-05 | 2.8868e-05 | 0.002693 | 0 | ∞ | 2 | 5.386
500 | 0 | 0 | 0.0011 | 0.00055 | 0 | 0 | 0.00575 | 0.0033198 | 5e-05 | 2.8868e-05 | 0.0033651 | 0 | ∞ | 2 | 6.7303
Contact Deformation
[5 empty] | STD | UUC
[5 empty] | Steel | Steel | 0 | µm
[5 empty] | Steel | Ceramic | 0.00575 | µm
[5 empty] | Steel | Tungsten | -0.2026 | µm
Note on F4: Certificate of Calubration Gauge Block
Note on J4: (Normal Value * 11.5*10^-6 * 1)
Note on E6: Divisor = 1
Note on G6: Divisor = √3
Note on I6: Divisor = √3
Note on K6: Divisor = √3
Note on M6: Divisor = √3

## Cert STD
Certificate of Calibration | [5 empty] | Certificate of Calibration |  |  |  |  | Certificate of Calibration |  |  |  |  | Certificate of Calibration |  |  |  |  | Certificate of Calibration |  |  |  |  | Certificate of Calibration
SP-SD-001 | [5 empty] | SP-SD-008 |  |  |  |  | SP-SD-009 |  |  |  |  | SP-SD-010 |  |  |  |  | SP-SD-011 |  |  |  |  | SP-SD-012
Due Date |  |  | 2016-04-28 |  |  | Due Date |  | 2015-11-29 |  |  | Due Date |  | 2016-05-13 |  |  | Due Date |  | 2015-11-29 |  |  | Due Date |  | 2016-05-12 |  |  | Due Date |  | 2016-06-09
1 | mm | 0.21 | µm | 0.00021 | mm | 2.5 | 0.06 | µm | 6e-05 | mm | 2.5 | 0.08 | µm | 8e-05 | mm | 1.005 | 0.06 | µm | 6e-05 | mm | 1 | 0.08 | µm | 8e-05 | mm | 125 | 0.42 | µm | 0.00042 | mm
1.01 | mm | 0.21 | µm | 0.00021 | mm | 5.1 | 0.06 | µm | 6e-05 | mm | 5.1 | 0.09 | µm | 9e-05 | mm | 1.01 | 0.06 | µm | 6e-05 | mm | 1.005 | 0.08 | µm | 8e-05 | mm | 150 | 0.47 | µm | 0.00047 | mm
1.05 | mm | 0.21 | µm | 0.00021 | mm | 7.7 | 0.06 | µm | 6e-05 | mm | 7.7 | 0.09 | µm | 9e-05 | mm | 1.02 | 0.06 | µm | 6e-05 | mm | 1.01 | 0.08 | µm | 8e-05 | mm | 175 | 0.51 | µm | 0.00051 | mm
1.1 | mm | 0.21 | µm | 0.00021 | mm | 10.3 | 0.07 | µm | 7e-05 | mm | 10.3 | 0.09 | µm | 9e-05 | mm | 1.03 | 0.06 | µm | 6e-05 | mm | 1.02 | 0.08 | µm | 8e-05 | mm | 200 | 0.55 | µm | 0.00055 | mm
2 | mm | 0.21 | µm | 0.00021 | mm | 12.9 | 0.07 | µm | 7e-05 | mm | 12.9 | 0.09 | µm | 9e-05 | mm | 1.04 | 0.06 | µm | 6e-05 | mm | 1.03 | 0.08 | µm | 8e-05 | mm | 250 | 0.63 | µm | 0.00063 | mm
5 | mm | 0.21 | µm | 0.00021 | mm | 15 | 0.07 | µm | 7e-05 | mm | 15 | 0.1 | µm | 0.0001 | mm | 1.05 | 0.06 | µm | 6e-05 | mm | 1.04 | 0.08 | µm | 8e-05 | mm | 300 | 0.71 | µm | 0.00071 | mm
10 | mm | 0.21 | µm | 0.00021 | mm | 17.6 | 0.07 | µm | 7e-05 | mm | 17.6 | 0.1 | µm | 0.0001 | mm | 1.06 | 0.06 | µm | 6e-05 | mm | 1.05 | 0.08 | µm | 8e-05 | mm | 400 | 0.89 | µm | 0.00089 | mm
20 | mm | 0.23 | µm | 0.00023 | mm | 20.2 | 0.07 | µm | 7e-05 | mm | 20.2 | 0.1 | µm | 0.0001 | mm | 1.07 | 0.06 | µm | 6e-05 | mm | 1.06 | 0.08 | µm | 8e-05 | mm | 500 | 1.1 | µm | 0.0011 | mm
30 | mm | 0.27 | µm | 0.00027 | mm | 22.8 | 0.07 | µm | 7e-05 | mm | 22.8 | 0.1 | µm | 0.0001 | mm | 1.08 | 0.06 | µm | 6e-05 | mm | 1.07 | 0.08 | µm | 8e-05 | mm
40 | mm | 0.27 | µm | 0.00027 | mm | 25 | 0.07 | µm | 7e-05 | mm | 25 | 0.11 | µm | 0.00011 | mm | 1.09 | 0.06 | µm | 6e-05 | mm | 1.08 | 0.08 | µm | 8e-05 | mm
50 | mm | 0.27 | µm | 0.00027 | mm | [5 empty] | 50 | 0.13 | µm | 0.00013 | mm | 1.1 | 0.06 | µm | 6e-05 | mm | 1.09 | 0.08 | µm | 8e-05 | mm
60 | mm | 0.32 | µm | 0.00032 | mm | Digital | 2 |  |  |  | 75 | 0.16 | µm | 0.00016 | mm | 1.2 | 0.06 | µm | 6e-05 | mm | 1.1 | 0.08 | µm | 8e-05 | mm
70 | mm | 0.32 | µm | 0.00032 | mm | Analog | 5 |  |  |  | 100 | 0.18 | µm | 0.00018 | mm | 1.3 | 0.06 | µm | 6e-05 | mm | 1.2 | 0.08 | µm | 8e-05 | mm
80 | mm | 0.39 | µm | 0.00039 | mm | [10 empty] | 1.4 | 0.06 | µm | 6e-05 | mm | 1.3 | 0.08 | µm | 8e-05 | mm
90 | mm | 0.39 | µm | 0.00039 | mm | [10 empty] | 1.5 | 0.06 | µm | 6e-05 | mm | 1.4 | 0.08 | µm | 8e-05 | mm
100 | mm | 0.39 | µm | 0.00039 | mm | [10 empty] | 1.6 | 0.06 | µm | 6e-05 | mm | 1.5 | 0.08 | µm | 8e-05 | mm
[16 empty] | 1.7 | 0.06 | µm | 6e-05 | mm | 1.6 | 0.08 | µm | 8e-05 | mm
[16 empty] | 1.8 | 0.06 | µm | 6e-05 | mm | 1.7 | 0.08 | µm | 8e-05 | mm
[16 empty] | 1.9 | 0.06 | µm | 6e-05 | mm | 1.8 | 0.08 | µm | 8e-05 | mm
[16 empty] | 1 | 0.06 | µm | 6e-05 | mm | 1.9 | 0.08 | µm | 8e-05 | mm
[16 empty] | 2 | 0.06 | µm | 6e-05 | mm | 2 | 0.08 | µm | 8e-05 | mm
[16 empty] | 3 | 0.06 | µm | 6e-05 | mm | 3 | 0.08 | µm | 8e-05 | mm
[16 empty] | 4 | 0.06 | µm | 6e-05 | mm | 4 | 0.08 | µm | 8e-05 | mm
[16 empty] | 5 | 0.06 | µm | 6e-05 | mm | 5 | 0.09 | µm | 9e-05 | mm
[16 empty] | 6 | 0.06 | µm | 6e-05 | mm | 6 | 0.09 | µm | 9e-05 | mm
[16 empty] | 7 | 0.06 | µm | 6e-05 | mm | 7 | 0.09 | µm | 9e-05 | mm
[16 empty] | 8 | 0.06 | µm | 6e-05 | mm | 8 | 0.09 | µm | 9e-05 | mm
[16 empty] | 9 | 0.06 | µm | 6e-05 | mm | 9 | 0.09 | µm | 9e-05 | mm
[16 empty] | 10 | 0.06 | µm | 6e-05 | mm | 10 | 0.09 | µm | 9e-05 | mm
[16 empty] | 11 | 0.07 | µm | 7e-05 | mm | 20 | 0.1 | µm | 0.0001 | mm
[16 empty] | 12 | 0.07 | µm | 7e-05 | mm | 30 | 0.11 | µm | 0.00011 | mm
[16 empty] | 13 | 0.07 | µm | 7e-05 | mm | 50 | 0.13 | µm | 0.00013 | mm
[16 empty] | 14 | 0.07 | µm | 7e-05 | mm
[16 empty] | 15 | 0.07 | µm | 7e-05 | mm
[16 empty] | 16 | 0.07 | µm | 7e-05 | mm
[16 empty] | 17 | 0.07 | µm | 7e-05 | mm
[16 empty] | 18 | 0.07 | µm | 7e-05 | mm
[16 empty] | 19 | 0.07 | µm | 7e-05 | mm
[16 empty] | 20 | 0.07 | µm | 7e-05 | mm
[16 empty] | 21 | 0.07 | µm | 7e-05 | mm
[16 empty] | 22 | 0.07 | µm | 7e-05 | mm
[16 empty] | 23 | 0.07 | µm | 7e-05 | mm
[16 empty] | 24 | 0.07 | µm | 7e-05 | mm
[16 empty] | 25 | 0.07 | µm | 7e-05 | mm
[16 empty] | 50 | 0.09 | µm | 9e-05 | mm
[16 empty] | 75 | 0.1 | µm | 0.0001 | mm
[16 empty] | 100 | 0.12 | µm | 0.00012 | mm
Note on B3: Universal Length Measuring
Note on I3: Grade 0
Note on O3: Grade 0
Note on U3: Grade 0
Note on AA3: Grade 0
Note on AG3: Grade 0
Note on E4: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on K4: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on Q4: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on W4: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on AC4: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on AI4: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on B5: Normal Value (mm)
Note on D5: มาจากค่าความไม่แน่นอนของการวัด ULM
Note on F5: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน
Note on J5: Nathaphol Boonmee: มาจากค่าความไม่แน่นอนของการวัด Gauge Block
Note on L5: Nathaphol Boonmee: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน
Note on P5: ค่าความไม่แน่นอนของการวัดจากใบรับรองผลการสอบเทียบ Gauge Block
Note on R5: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน
Note on V5: ค่าความไม่แน่นอนของการวัดจากใบรับรองผลการสอบเทียบ Gauge Block
Note on X5: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน
Note on AB5: ค่าความไม่แน่นอนของการวัดจากใบรับรองผลการสอบเทียบ Gauge Block
Note on AD5: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน
Note on AH5: ค่าความไม่แน่นอนของการวัดจากใบรับรองผลการสอบเทียบ Gauge Block
Note on AJ5: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน