## Data
SP METROLOGY SYSTEM THAILAND | [7 empty] | Certificate No. : | [9 empty] | Page 1 of 2
[8 empty] | Receive Date : | [6 empty] | Calibration Date :
Equipment Name | [7 empty] | Temp & Humiduty : | [5 empty] | oC |  | %RH
External Micrometer | [7 empty] | Location | [5 empty] | In Lab |  |  | On Site
Customer Name :
Equipment Name : | [9 empty] | Manufacturer :
Model : | [6 empty] | Serial No. : | [8 empty] | ID No :
Range : |  |  | to |  |  | mm | Resolution : |  |  |  | mm |  |  |  |  | Readability : | mm
Overall Inspection |  |  |  |  | Good |  | Not Good
Referance Standard : | [11 empty] | Due Date :
Referance Standard : | [11 empty] | Due Date :
Referance Standard : | [11 empty] | Due Date :
1. Flatness Measurement
| Measuring Positions |  |  |  |  | Reading
Anvil
Spindle
2. Parallelism of Measyrement Faces
| 2.1 Length Up - 50 mm. | [7 empty] | 2.2 Length > 50 mm.
| Size of Optical |  | Number of | [5 empty] | Size of Optical |  |  |  | Size of Gauge |  |  | Number of
| Parallelism |  | Fringes (n) | [5 empty] | Parallelism |  |  |  | Block |  |  | Fringes (n)
| (mm) |  | ANVIL |  |  | SPINDLE |  |  | (mm) |  |  |  | (mm) |  |  | ANVIL | SPINDLE
| 12 | [7 empty] | 12.00 - 12.12
| 12.12 | [7 empty] | 12.00 - 12.25
| 12.25 | [7 empty] | 12.00 - 12.37
12.37
| 3. Length Measurement | [16 empty] | Page 2 of 2
|  | Normal Value |  |  | UUC Reading
[5 empty] | X1 |  | X2 |  |  | X3 |  |  |  | X4
| Calibrated By |  | :
|  |  |  | 8 |  | Mr. Vichan Ananta
|  |  |  | 9 |  | Mr.Kittikorn Kingmali
|  |  |  | 10 |  | Mr.Chainarong Matchayamat
|  |  |  | 11 |  | Ms. Arunkamon Raramanus