## Data (Temp)
SP METROLOGY SYSTEM THAILAND | [9 empty] | Certificate No. : |  |  | SPR | [8 empty] | Page |  | 1 |  | of | 1
[10 empty] | Receive Date : |  |  | 2017-03-07 |  |  |  |  | Calibration Date : |  |  |  | 2017-03-07
Equipment Name | [9 empty] | Temp & Humiduty : |  |  |  | 23 | oC | 50 |  | %RH
Temperature | [9 empty] | Location |  |  |  | In Lab |  |  |  |  | On Site
Customer Name |  |  |  | : | SP
Address |  |  |  | : | 88/115
Equipment Name |  |  |  | : | Thermo Hygrometer | [7 empty] | Manufacturer : |  |  |  | Digicon
Model : |  | TH-02 | [7 empty] | Serial No. : |  | 123456 | [5 empty] | ID No : | 123
Range : |  | 0 |  | to | 0 |  | °C | Resolution : |  |  | 0 |  | Range : |  | 0 |  | to | 0 | %RH |  | Resolution : |  |  |  | 0
Overall Inspection | [5 empty] | Good |  |  |  | Not Good
Reference Standard |  |  |  |  | : | SP-ST-016 | [7 empty] | Due Date : | 2018-01-04
Reference Standard |  |  |  |  | : | [8 empty] | Due Date :
Calibration Procedure |  |  |  |  | : | SP-CPT-04-13
Temperature
| Nominal |  | Number of Measure |  |  | Actual Value | [8 empty] | Average STD |  |  | Average UUC |  | Error |  |  | Repeatability
| Value |  |  |  |  | STD |  |  | UUC |  | UUC |  | STD | [9 empty] | STD |  |  | UUC
| 10 |  | 1st |  |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 2nd |  |  | 0 |  |  | 0 |  | 0 |  | 0
|  |  | 3rd |  |  | 0 |  |  | 0 |  | 0 |  | 0
|  |  | 4th |  |  | 0 |  |  | 0 |  | 0 |  | 0
| 20 |  | 1st |  |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 2nd |  |  | 0 |  |  | 0 |  | 0 |  | 0
|  |  | 3rd |  |  | 0 |  |  | 0 |  | 0 |  | 0
|  |  | 4th |  |  | 0 |  |  | 0 |  | 0 |  | 0
| 30 |  | 1st |  |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 2nd |  |  | 0 |  |  | 0 |  | 0 |  | 0
|  |  | 3rd |  |  | 0 |  |  | 0 |  | 0 |  | 0
|  |  | 4th |  |  | 0 |  |  | 0 |  | 0 |  | 0
| 40 |  | 1st |  |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 2nd |  |  | 0 |  |  | 0 |  | 0 |  | 0
|  |  | 3rd |  |  | 0 |  |  | 0 |  | 0 |  | 0
|  |  | 4th |  |  | 0 |  |  | 0 |  | 0 |  | 0
Short Teram
[16 empty] | UUC 1 |  |  | UUC 2
[16 empty] | 0 |  |  | 0
0
Calibrated By : |  |  |  | Mr.Prayoon Topart
Mr.Nirut Loha
Mr.Pakapon Nammontree
Mr.Prayoon Topart
Mr.Santi Thonghlor
Mr.Werayut Jampol

## Data (Humid)
SP METROLOGY SYSTEM THAILAND | [9 empty] | Certificate No. : |  |  |  | SPR | [8 empty] | Page |  | 1 |  | of | 1
[10 empty] | Receive Date : |  |  |  | 2017-03-07 |  |  |  |  | Calibration Date : |  |  |  | 2017-03-07
Equipment Name | [9 empty] | Temp & Humiduty : |  |  |  |  | 23 | oC | 50 |  | %RH
Thermo Hygrometer | [9 empty] | Location |  |  |  |  | In Lab |  |  |  |  | On Site
Customer Name : |  |  |  |  | SP
88/115
Equipment Name : |  |  |  |  | Thermo Hygrometer | [7 empty] | Manufacturer : |  |  |  | Digicon
Model : |  | TH-02 | [7 empty] | Serial No. : |  | 123456 | [6 empty] | ID No : | 123
Range : |  | 0 |  | to | 0 |  | °C | Resolution : |  |  | 0 |  |  | Range : |  | 0 |  | to | 0 | %RH |  | Resolution : |  |  |  | 0
Overall Inspection | [5 empty] | Good |  |  |  | Not Good
Reference Standard |  |  |  |  | : | SP-ST-016 | [8 empty] | Due Date : | 2018-01-04
Reference Standard |  |  |  |  | : | [9 empty] | Due Date :
Calibration Procedure |  |  |  |  | : | SP-CPT-04-13
Humidity
| Nominal |  | Number of Measure |  |  | Actual Value | [9 empty] | Average STD |  |  | Average UUC |  | Error |  |  | Repeatability
| Value |  |  |  |  | STD |  |  | UUC |  | UUC |  |  | STD | [9 empty] | STD |  |  | UUC
| 30 |  | 1st |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 2nd |  |  | 0 |  |  | 0 |  | 0 |  |  | 0
|  |  | 3rd |  |  | 0 |  |  | 0 |  | 0 |  |  | 0
|  |  | 4th |  |  | 0 |  |  | 0 |  | 0 |  |  | 0
| 50 |  | 1st |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 2nd |  |  | 0 |  |  | 0 |  | 0 |  |  | 0
|  |  | 3rd |  |  | 0 |  |  | 0 |  | 0 |  |  | 0
|  |  | 4th |  |  | 0 |  |  | 0 |  | 0 |  |  | 0
| 70 |  | 1st |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 2nd |  |  | 0 |  |  | 0 |  | 0 |  |  | 0
|  |  | 3rd |  |  | 0 |  |  | 0 |  | 0 |  |  | 0
|  |  | 4th |  |  | 0 |  |  | 0 |  | 0 |  |  | 0
Short Teram
[17 empty] | UUC 1 |  |  | UUC 2
[17 empty] | 0 |  |  | 0
0
Calibrated By : |  |  |  | Mr.Prayoon Topart

## Certificate
Certificate of Calibration
| Certificate Number |  |  | : | SPR |  |  |  |  | Page : 1 of 3
| Customer |  |  | : | SP
88/115
| Equipment Name |  |  | : | Thermo Hygrometer
| Manufacturer |  |  | : | Digicon
| Model |  |  | : | TH-02
| Serial Number |  |  | : | 123456
| ID. Number |  |  | : | 123
Environmental Conditions
| Ambient Temperature |  |  |  | : | 23 °C ± 2 °C |  | Received Date |  | : | 2017-03-07
| Relative Humidity |  |  |  | : | 50% ± 15 % |  | Calibration Date |  | : | 2017-03-07
| Location of Calibration |  |  |  | : | In-Lab |  | Recommended Due Date |  | : | 2018-03-07
| Calibration Procedure |  |  |  | : | SP-CPT-04-13 |  | Date of Issue |  | : | 2017-03-08
Method of Calibration
This certifies that the above instrument was calibrated in compliance with the calibration system
requirement of ISO/IEC 17025:2005 in accordance with reference procedure. Standards used to perform
this calibration are certified by to NIST or equivalent, National metrology institute, Natural physical constants,
consensus standards. The result reported herein apply only to the calibration of the item described above.
All calibrations are performed within manufacture's specifications.The calibration certificate shall not be
reproduced except in full,without written approval of SP Metrology System (Thailand).
| Calibrated by | : | Mr.Prayoon Topart |  |  |  | Approved by :
|  |  | Calibration Officer |  |  |  | 3 |  | (Mr. Santi Hankitudomsuk)
Authorized Signatory
Note on Q38: ระบุ ID ประจำตัวพนักงาน

## Report
Certificate Report
| Certificate Number |  | : | SPR |  |  |  | Page : 2 of 3
Reference Standards
| Equipment Name |  |  | Model | Serial No | Certificate No | Due. Date
| Humidity&Temperature Meter |  |  | N/A | 201608024918 | 17H85 | 04 Jan 2018
Traceability
This certification is traceable to the International System of Unit maintained at :
-National Institute of Metrology (Thailand) (NIMT)
-Thailand Institute of Scientific And Technological Research (TISTR)

## Result
Result of Calibration
| Certificate No. : |  | SPR | [5 empty] | Page : 3 of 3
| Temperature Accuracy in the Measurement. | [6 empty] | Unit : | °C
|  | Temperature Setting |  | Standard Reading | UUC Reading | Error | Uncertainty ( ± )
|  | 10 |  | 0 | 0 | 0 | 0.60277
|  | 20 |  | 0 | 0 | 0 | 0.60277
|  | 30 |  | 0 | 0 | 0 | 0.60277
|  | 40 |  | 0 | 0 | 0 | 0.60277
| Humidity Accuracy in the Measurement. | [6 empty] | Unit : | %RH
|  | Humidity Setting |  | Standard Reading | UUC Reading | Error | Uncertainty
(±)
|  | 30 |  | 0 | 0 | 0 | 3.2005
|  | 50 |  | 0 | 0 | 0 | 3.2005
|  | 70 |  | 0 | 0 | 0 | 3.2005
Measurement Uncertainty
The reported uncertainty of measurement is the expanded uncertainty obtained by multiplying the
standard uncertainty with the coverage factor k = 2.00, providing a level of confidence approximately 95 %
- End of Certificate -

## Uncertainty Budget(20 to 40C)
Uncertainty Budget Thermo Hygrometer(Temperature)
Unit: °C
Nominal Value | Uncertainty of STD |  | Short term stability of UUC |  | Resolution of STD |  | Resolution of UUC |  | Repeatability STD |  | Repeatability UUC |  | Uc | Ui | Veff | K95 | U95%
°C | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Value | Value | Value | Value
10 | 0.6 | 0.3 | 0 | 0 | 0.05 | 0.028868 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30139 | 0 | ∞ | 2 | 0.60277
20 | 0.6 | 0.3 | 0 | 0 | 0.05 | 0.028868 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30139 | 0 | ∞ | 2 | 0.60277
30 | 0.6 | 0.3 | 0 | 0 | 0.05 | 0.028868 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30139 | 0 | ∞ | 2 | 0.60277
40 | 0.6 | 0.3 | 0 | 0 | 0.05 | 0.028868 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30139 | 0 | ∞ | 2 | 0.60277
Note on C5: Certificate of Calubration Digithermometer with PRT senror
Note on E5: ได้จากค่า correction ของผลการสอบเทียบที่จุดสอบเทียบแรกครั้งที่1 - Correction ของผลการสอบเทียบที่จุดสอบเทียบแรกครั้งที่2
Note on G5: ค่าความละเอียดในการอ่านของ STD = 0.001 C
Note on I5: ค่าความละเอียดในการอ่านของ UUC
Note on D6: Divisor = 2
Note on F6: Divisor = √3
Note on H6: Divisor = √3
Note on J6: Divisor = √3
Note on L6: Divisor = 1
Note on N6: Divisor = 1

## Uncertainty Budget(30 to 70%RH)
Uncertainty Budget Thermo Hygrometer(Humidity)
Unit: %RH
Nominal Value | Uncertainty of STD |  | Short term stability of UUC |  | Resolution of STD |  | Resolution of UUC |  | Repeatability STD |  | Repeatability UUC |  | Uc | Ui | Veff | K95 | U95%
%RH | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Value | Value | Value | Value
30 | 3.2 | 1.6 | 0 | 0 | 0.05 | 0.028868 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6003 | 0 | ∞ | 2 | 3.2005
50 | 3.2 | 1.6 | 0 | 0 | 0.05 | 0.028868 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6003 | 0 | ∞ | 2 | 3.2005
70 | 3.2 | 1.6 | 0 | 0 | 0.05 | 0.028868 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6003 | 0 | ∞ | 2 | 3.2005
Note on C5: Certificate of Calubration Digithermometer with PRT senror
Note on E5: ได้จากค่า correction ของผลการสอบเทียบที่จุดสอบเทียบแรกครั้งที่1 - Correction ของผลการสอบเทียบที่จุดสอบเทียบแรกครั้งที่2
Note on G5: ค่าความละเอียดในการอ่านของ STD = 0.001 C
Note on I5: ค่าความละเอียดในการอ่านของ UUC
Note on D6: Divisor = 2
Note on F6: Divisor = √3
Note on H6: Divisor = √3
Note on J6: Divisor = √3
Note on L6: Divisor = 1
Note on N6: Divisor = 1

## Cert of STD
Temperature & Humidity Data Logger
SP-ST-005
Due Date |  |  |  | 2016-05-28
STD | UUC | Uncert |  | STD | UUC | Uncert
°C |  |  |  | %RH
19.83 | 19.9 | 0.6 | °C | 30.5 | 29.2 | 3.2 | %RH
29.73 | 29.7 | 0.6 | °C | 51.1 | 49.7 | 3.2 | %RH
39.95 | 39.9 | 0.6 | °C | 70.7 | 70.2 | 3.2 | %RH
Note on B6: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on B8: Nathaphol Boonmee: Normal Value
Note on D8: Update Uncertainty ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on F8: Nathaphol Boonmee: Normal Value
Note on H8: Update Uncertainty ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง