## Data
SP METROLOGY SYSTEM THAILAND | [8 empty] | Certificate No. : |  |  |  |  | SPR16010012 | [8 empty] | Page |  | 1 | of | 1
[9 empty] | Receive Date : |  |  |  |  | 2016-01-12 |  |  |  | Calibration Date : |  |  |  | 2016-01-12
Equipment Name | [8 empty] | Temp & Humiduty : | [5 empty] | 23 | oC | 50 |  | %RH
Infrared Thermometer | [8 empty] | Location |  |  |  |  | In Lab | [5 empty] | On Site
Customer Name : |  |  |  |  | SP
Equipment Name : |  |  |  |  | Infared Thermometer | [7 empty] | Manufacturer : |  |  |  | Fliker
Model : |  | F665 | [6 empty] | Serial No. : |  |  | FF11 | [6 empty] | ID No : | IR 432
Range : |  | -40 |  | to | 650 |  | oC |  |  |  | Resolution : | 0.1 |  | oC
Overall Inspection | [5 empty] | Good |  |  | Not Good
Referance Standard : | [14 empty] | Due Date :
Referance Standard : | [14 empty] | Due Date :
Calibration Procedure :
| Distance measurement from target : | [8 empty] | 200 |  | mm
| Emissivity Setting ( ε ) : | [5 empty] | 95
| Nominal |  | Number of Measure |  |  | Actual Value | [9 empty] | Average STD |  |  | Average UUC |  | Error |  |  | Repeatability
| Value |  |  |  |  | STD |  | UUC |  |  | UUC |  |  | STD | [9 empty] | STD |  | UUC
| 50 |  | 1st |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0
|  |  | 2nd |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 3rd |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 4th |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
| 100 |  | 1st |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0
|  |  | 2nd |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 3rd |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 4th |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
| 200 |  | 1st |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0
|  |  | 2nd |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 3rd |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 4th |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
| 300 |  | 1st |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0
|  |  | 2nd |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 3rd |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 4th |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
| 350 |  | 1st |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0
|  |  | 2nd |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 3rd |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 4th |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
| 400 |  | 5th |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0
|  |  | 6th |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 7th |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 8th |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
| 500 |  | 1st |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0
|  |  | 2nd |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 3rd |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
|  |  | 4th |  |  | 0 |  | 0 |  |  | 0 |  |  | 0
Calibrated By : |  |  |  | Mr. Nirut Loha
|  |  | 11 |  | Mr. Nirut Loha

## Certificate
Certificate of Calibration
| Certificate Number |  |  |  | : | SPR16010012 | [6 empty] | Page : 1 of 3
| Customer |  |  |  | : | SP
0
| Equipment Name |  |  |  | : | Infared Thermometer
| Manufacturer |  |  |  | : | Fliker
| Model |  |  |  | : | F665
| Serial Number |  |  |  | : | FF11
| ID. Number |  |  |  | : | IR 432
Environmental Conditions
| Ambient Temperature |  |  |  |  | : | 23 °C ± 2 °C |  | Received Date |  |  |  | : | 2016-01-12
| Relative Humidity |  |  |  |  | : | 50% ± 15 % |  | Calibration Date |  |  |  | : | 2016-01-12
| Location of Calibration |  |  |  |  | : | In-Lab |  | Recommended Due Date |  |  |  | : | 2017-01-11
| Calibration Procedure |  |  |  |  | : | SP-CPT-04-12
Method of Calibration
This certifies that the above instrument was calibrated in compliance with the calibration system
requirement of ISO/IEC 17025:2005 in accordance with reference procedure. Standards used to perform
this calibration are certified by to NIST or equivalent, National metrology institute, Natural physical constants,
consensus standards. The result reported herein apply only to the calibration of the item described above.
All calibrations are performed within manufacture's specifications.The calibration certificate shall not be
reproduced except in full,without written approval of SP Metrology System (Thailand).
| Date of Issue |  | : | 2016-01-13 |  |  |  | Approved by :
| Calibrated by |  | : | Ms. Arunkamon Raramanus |  |  |  | 3 |  |  |  | ( Mr. Natthaphol Boonmee )
Authorized Signatory
[10 empty] | 1 | Mr.Sombut Srikampa
| 11 | Ms. Arunkamon Raramanus | [7 empty] | 3 | Mr. Natthaphol Boonmee
Note on Q38: ระบุ ID ประจำตัวพนักงาน

## Report
Certificate Report
| Certificate Number |  | : | SPR16010012 |  |  | Page : 2 of 3
Reference Standards
| Equipment Name |  | Model |  | Serial No. | Certificate No. | Due. Date
| Digital Thermometer |  | GT11/3850-40-392 |  | 08000098 / 100288 | PSL T 572/58 | 2016-06-05
with PRT Sensor
| Digital Thermometer |  | 34970A |  | MY44010293 | TC 15/0326 | 2016-11-02
with SRT Sensor
Traceability
This certification is traceable to the International System of Unit maintained at :
-National Institute of Metrology (Thailand) (NIMT)
-Thailand Institute of Scientific And Technological Research (TISTR)

## Result
Result of Calibration
|  | Certificate No. : |  | SPR16010012 | [8 empty] | Page : 3 of 3
|  | Distance measurement from target : |  |  |  | 200 |  | mm
|  | Emissivity Setting ( ε ) : |  | 95 | [6 empty] | Unit : | °C
|  |  | Temperature Setting |  | Standard Reading |  | UUC Reading |  | Error | Uncertainty (±)
|  |  | 50 |  | 0 |  | 0 |  | 0 | 0.29592
|  |  | 100 |  | 0 |  | 0 |  | 0 | 0.29592
|  |  | 200 |  | 0 |  | 0 |  | 0 | 0.29592
|  |  | 300 |  | 0 |  | 0 |  | 0 | 0.76158
|  |  | 350 |  | 0 |  | 0 |  | 0 | 0.76158
|  |  | 400 |  | 0 |  | 0 |  | 0 | 0.76158
|  |  | 500 |  | 0 |  | 0 |  | 0 | 0.76158
Measurement Uncertainty
The reported uncertainty of measurement is the expanded uncertainty obtained by multiplying the
standard uncertainty with the coverage factor k = 2.00, providing a level of confidence approximately 95 %
- End of Certificate -

## Uncertainty Budget(-40 to 650)
Uncertainty Budget Infrared Thermometer (-40 to 650°C)
Unit: °C
Nominal Value | Uncertainty of STD |  | Resolution of STD |  | Resolution of UUC |  | Distance |  | Uniform |  | Repeatability STD |  | Repeatability UUC |  | Uc | Ui | Veff | K95 | U95%
°C | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Value | Value | Value | Value
50 | 0.03 | 0.015 | 0.0005 | 0.00028868 | 0.05 | 0.028868 | 0.2 | 0.11547 | 0.15 | 0.086603 | 0 | 0 | 0 | 0 | 0.14796 | 0 | ∞ | 2 | 0.29592
100 | 0.03 | 0.015 | 0.0005 | 0.00028868 | 0.05 | 0.028868 | 0.2 | 0.11547 | 0.15 | 0.086603 | 0 | 0 | 0 | 0 | 0.14796 | 0 | ∞ | 2 | 0.29592
200 | 0.03 | 0.015 | 0.0005 | 0.00028868 | 0.05 | 0.028868 | 0.2 | 0.11547 | 0.15 | 0.086603 | 0 | 0 | 0 | 0 | 0.14796 | 0 | ∞ | 2 | 0.29592
300 | 0.7 | 0.35 | 0.05 | 0.028868 | 0.05 | 0.028868 | 0.2 | 0.11547 | 0.15 | 0.086603 | 0 | 0 | 0 | 0 | 0.38079 | 0 | ∞ | 2 | 0.76158
500 | 0.7 | 0.35 | 0.05 | 0.028868 | 0.05 | 0.028868 | 0.2 | 0.11547 | 0.15 | 0.086603 | 0 | 0 | 0 | 0 | 0.38079 | 0 | ∞ | 2 | 0.76158
Note on C5: Certificate of Calubration Digithermometer with PRT senror
Note on E5: ค่าความละเอียดในการอ่านของ STD = 0.001 C
Note on G5: ค่าความละเอียดในการอ่านของ UUC
Note on D6: Divisor = 2
Note on F6: Divisor = √3
Note on H6: Divisor = √3
Note on J6: Divisor = √3
Note on L6: Divisor = √3
Note on N6: Divisor = 1
Note on P6: Divisor = 1

## Cert of STD
Digital Thermometer with TC PRT | [5 empty] | Digital Thermometer with TC SRT
SP-ST-002
Due Date |  |  | 2016-06-05 |  |  | SP-ST-003
Point | Uncert |  | Point | Uncert |  | Due Date | 2016-11-02
°C | CH 1 |  | °C | CH 2 |  | Point | Uncert
-40.0092 | 0.03 | °C | -80.0236 | 0.03 | °C | °C
-0.00145 | 0.03 | °C | -40.0092 | 0.03 | °C | 250 | 0.7 | °C
50.0427 | 0.03 | °C | -0.00145 | 0.03 | °C | 500 | 0.7 | °C
100.0512 | 0.03 | °C | 50.0427 | 0.03 | °C | 750 | 2.6 | °C
150.0512 | 0.03 | °C | 100.0518 | 0.03 | °C | 1200 | 2.6 | °C
200.0524 | 0.03 | °C
250.0772 | 0.03 | °C
Note on B6: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on I7: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on B8: Nathaphol Boonmee: Normal Value
Note on C8: Update Uncertainty ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on F8: Update Uncertainty ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on I9: Nathaphol Boonmee: Normal Value
Note on J9: Update Uncertainty ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง