## Data Record(Humid)
SP METROLOGY SYSTEM THAILAND | [9 empty] | Certificate No. : |  |  |  | SPR16010015
[10 empty] | Receive Date : |  |  |  | 2016-01-15 |  |  |  |  | Calibration Date : |  |  |  |  | 2016-01-15
Equipment Name | [9 empty] | Temp & Humiduty : |  |  |  |  | 23 |  | oC | 50 |  | %RH
Humidity Chamber | [9 empty] | Location |  |  |  |  | In Lab | [7 empty] | On Site
Customer Name : |  |  |  | SP
Equipment Name : |  |  |  | Humidaty Chamber | [9 empty] | Manufacturer : |  |  |  | HUMID
Model : |  | hUM | [7 empty] | Serial No. : |  |  | 6437 | [7 empty] | ID No : |  | MU
Range : | 20 | to | 60 | °C | Resolution : |  |  |  | 0.1 |  |  | Range : |  | 20 | to | 60 | %RH |  | Resolution : |  |  |  | 0.1
Overall Inspection | [5 empty] | Good |  |  |  | Not Good
Referance Standard : | [15 empty] | Due Date :
Calibration and Data Record
Record | Chamber |  | Standard Reading (oC) @ Probe Number
No. | Indicator |  | #1 |  |  | #2 |  |  | #3 |  |  | #4 |  |  | #5 |  |  | #6 |  |  | #7 |  |  | #8 |  |  | #9 (Ref)
1 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
2 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
3 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
4 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
5 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
6 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
7 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
8 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
9 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
10 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
11 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
12 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
13 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
14 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
15 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
16 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
17 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
18 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
19 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
20 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
21 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
22 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
23 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
24 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
25 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
26 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
27 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
28 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
29 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
30 | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
Averg | 70 |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
Repeat STD |  |  | 0
Repeat UUC |  |  | 0
Summary of Calibration Results
Chamber Uniformity: Maximum difference of measured humid. between any data logger and reference data logger | [23 empty] | = | 0 |  |  | oC
Humidity Stability: One-half of greatest maximum diff. of measured humid. at any data logger | [23 empty] | = | 0 |  |  | oC
Overall Variation: Difference of maximum and minimum measured humidity | [23 empty] | = | 0 |  |  | oC
Standard Reading @ Data Logger Number
|  | #1 |  |  | #2 |  |  | #3 |  |  | #4 |  |  | #5 |  |  | #6 |  |  | #7 |  |  | #8 |  |  | #9 (Ref)
Min Humid |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
Max Humid |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71 |  |  | 71
Diff Humid |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
Stability |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
Difference Humidity Between Any Data Logger and Ref.
Record | Chamber |  |  | Diff. Humidity Between Any Data Logger and Ref. Data Logger @ (Data Logger Number-Ref.)
No. | Indicator |  |  | #1-Ref. |  |  | #2-Ref. |  |  | #3-Ref. |  |  | #4-Ref. |  |  | #5-Ref. |  |  | #6-Ref. |  |  | #7-Ref. |  |  | #8-Ref.
1 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
2 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
3 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
4 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
5 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
6 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
7 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
8 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
9 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
10 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
11 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
12 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
13 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
14 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
15 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
16 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
17 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
18 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
19 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
20 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
21 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
22 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
23 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
24 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
25 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
26 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
27 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
28 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
29 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
30 | 70 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
Calibrated By |  |  | : | Mr.Chainarong Matchayamat
|  | 10 |  | Mr.Chainarong Matchayamat
|  | 11 |  | Ms. Arunkamon Raramanus

## Data Record(Temp)
SP METROLOGY SYSTEM THAILAND | [9 empty] | Certificate No. : |  |  |  | SPR16010015
[10 empty] | Receive Date : |  |  |  | 2016-01-15 |  |  |  |  | Calibration Date : |  |  |  |  | 2016-01-15
Equipment Name | [9 empty] | Temp & Humiduty : |  |  |  |  | 23 |  | oC | 50 |  | %RH
Humidity Chamber | [9 empty] | Location |  |  |  |  | In Lab | [7 empty] | On Site
Customer Name : |  |  |  | SP
Equipment Name : |  |  |  | Humidaty Chamber | [9 empty] | Manufacturer : |  |  |  | HUMID
Model : |  | hUM | [7 empty] | Serial No. : |  |  | 6437 | [7 empty] | ID No : |  | MU
Range : | 20 | to | 60 | °C | Resolution : |  |  |  | 0.1 |  | Range : |  | 20 | to | 60 | %RH |  | Resolution : |  |  |  | 0.1
Overall Inspection | [5 empty] | Good |  |  |  | Not Good
Referance Standard : | [15 empty] | Due Date :
Calibration and Data Record
Record | Chamber |  | Standard Reading @ Data Logger Number
No. | Indicator |  | #1 |  |  | #2 |  |  | #3 |  |  | #4 |  |  | #5 |  |  | #6 |  |  | #7 |  |  | #8 |  |  | #9 (Ref)
1 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
2 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
3 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
4 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
5 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
6 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
7 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
8 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
9 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
10 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
11 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
12 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
13 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
14 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
15 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
16 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
17 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
18 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
19 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
20 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
21 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
22 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
23 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
24 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
25 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
26 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
27 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
28 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
29 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
30 | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
Averg | 20 |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
Repeat STD |  |  | 1.084e-14
Repeat UUC |  |  | 0
Summary of Calibration Results
Chamber Uniformity: Maximum difference of measured temp. between any data logger and reference data logger | [23 empty] | = | 0 |  |  | oC
Temperature Stability: One-half of greatest maximum diff. of measured temp. at any data loggter | [23 empty] | = | 0 |  |  | oC
Overall Variation: Difference of maximum and minimum measured temperature | [23 empty] | = | 0 |  |  | oC
Standard Reading @ Data Logger Number
|  | #1 |  |  | #2 |  |  | #3 |  |  | #4 |  |  | #5 |  |  | #6 |  |  | #7 |  |  | #8 |  |  | #9 (Ref)
Min. Temp. |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
Max. Temp. |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1 |  |  | 20.1
Diff. Temp. |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
Stability |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
Difference Temperature Between Any Data Logger and Ref.
Record | Chamber |  |  | Diff. Temperature Between Any Data Logger and Ref. Data Logger @ (Data Logger Number-Ref)
No. | Indicator |  |  | #1-Ref. |  |  | #2-Ref. |  |  | #3-Ref. |  |  | #4-Ref. |  |  | #5-Ref. |  |  | #6-Ref. |  |  | #7-Ref. |  |  | #8-Ref.
1 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
2 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
3 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
4 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
5 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
6 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
7 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
8 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
9 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
10 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
11 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
12 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
13 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
14 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
15 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
16 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
17 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
18 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
19 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
20 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
21 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
22 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
23 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
24 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
25 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
26 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
27 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
28 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
29 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
30 | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
Calibrated By |  |  | :
|  | 10 |  | Mr.Chainarong Matchayamat
|  | 11 |  | Ms. Arunkamon Raramanus

## Certificate
Certificate of Calibration
| Certificate Number |  |  |  | : | SPR16010015 | [6 empty] | Page : 1 of 3
| Customer |  |  |  | : | SP
| Equipment Name |  |  |  | : | Humidaty Chamber
| Manufacturer |  |  |  | : | HUMID
| Model |  |  |  | : | hUM
| Serial Number |  |  |  | : | 6437
| ID. Number |  |  |  | : | MU
Environmental Conditions
| Ambient Temperature |  |  |  |  | : | 23 °C ± 2 °C |  | Received Date |  |  |  | : | 2016-01-15
| Relative Humidity |  |  |  |  | : | 50% ± 15 % |  | Calibration Date |  |  |  | : | 2016-01-15
| Location of Calibration |  |  |  |  | : | In-Lab |  | Recommended Due Date |  |  |  | : | 2017-01-14
| Calibration Procedure |  |  |  |  | : | SP-CPT-04-14
Method of Calibration
This certifies that the above instrument was calibrated in compliance with the calibration system
requirement of ISO/IEC 17025:2005 in accordance with reference procedure. Standards used to perform
this calibration are certified by to NIST or equivalent, National metrology institute, Natural physical constants,
consensus standards. The result reported herein apply only to the calibration of the item described above.
All calibrations are performed within manufacture's specifications.The calibration certificate shall not be
reproduced except in full,without written approval of SP Metrology System (Thailand).
| Date of Issue |  | : | 2016-01-16 |  |  |  | Approved by :
| Calibrated by |  | : | Mr.Natthaphol Boonmee |  |  |  | 3 |  |  |  | ( Mr. Natthaphol Boonmee )
Authorized Signatory
[10 empty] | 1 | Mr.Sombut Srikampa
| 11 | Ms. Arunkamon Raramanus | [7 empty] | 3 | Mr. Natthaphol Boonmee
Note on Q37: ระบุ ID ประจำตัวพนักงาน

## Report
Certificate Report
| Certificate Number |  | : | SPR16010015 |  |  |  | Page : 2 of 3
Reference Standards
| Equipment Name |  |  | Model | Serial No | Certificate No | Due. Date
| Data Logger |  |  | CEM 172 | 08000098/100288 | PSL T 572/58 | 2016-06-05
| Data Logger |  |  | CEM 172
| Data Logger |  |  | CEM 172
| Data Logger |  |  | CEM 172
| Data Logger |  |  | CEM 172
| Data Logger |  |  | CEM 172
| Data Logger |  |  | CEM 172
| Data Logger |  |  | CEM 172
| Data Logger |  |  | CEM 172
Traceability
This certification is traceable to the International System of Unit maintained at :
-National Institute of Metrology (Thailand) (NIMT)
-Thailand Institute of Scientific And Technological Research (TISTR)

## Result
Result of Calibration
|  | Certificate No. : |  |  |  | SPR16010015 | [9 empty] | Page : 3 of 3
| Humidity Accuracy in the Measurement Zone. | [13 empty] | Unit : |  | %RH
| UUC Setting |  | Standard Reading @ Data Logger No. (Data Logger No. 9 is REF.)
Uncertainty
|  |  | # 1 |  | # 2 | # 3 | # 4 | # 5 |  | # 6 |  | # 7 | # 8 | # 9 |  |  | (±)
| 70 |  | 71 |  | 71 | 71 | 71 | 71 |  | 71 |  | 71 | 71 | 71 |  | 3.2752
| Temperature Accuracy in the Measurement Zone. | [14 empty] | Unit : |  | °C
| UUC Setting |  | Standard Reading @ Data Logger No. (Data Logger No. 9 is REF.)
Uncertainty
|  |  | # 1 |  | # 2 | # 3 | # 4 | # 5 |  | # 6 |  | # 7 | # 8 | # 9 |  |  | (±)
| 20 |  | 20.1 |  | 20.1 | 20.1 | 20.1 | 20.1 |  | 20.1 |  | 20.1 | 20.1 | 20.1 |  | 0.60553
| Humidaty Uniformity, Stability | [6 empty] | Unit : |  | %RH
| UUC Setting |  |  | UUC Reading |  | Humidity Stability |  | Humidity Uniformity
| 70 |  |  | 70 |  | 0 |  | 0
| Temperature Uniformity, Stability | [7 empty] | Unit : |  | °C
| UUC Setting |  |  | UUC Reading |  | Temperature Stability |  | Temperature Uniformity
| 20 |  |  | 20 |  | 0 |  | 0
Measurement Uncertainty
The reported uncertainty of measurement is the expanded uncertainty obtained by multiplying the
standard uncertainty with the coverage factor k = 2.00, providing a level of confidence approximately 95 %
- End of Certificate -

## Uncertainty Budget(20 to 40C)
Uncertainty Budget Humidity Chamber (Temperature)
Unit: °C
Nominal Value | Uncertainty of STD |  | Resolution of STD |  | Resolution of UUC |  | Repeatability STD |  | Repeatability UUC |  | Uc | Ui | Veff | K95 | U95%
°C | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Value | Value | Value | Value
20 | 0.6 | 0.3 | 0.05 | 0.028868 | 0.05 | 0.028868 | 1.084e-14 | 1.084e-14 | 0 | 0 | 0.30277 | 0 | 1.8255e+54 | 2 | 0.60553
25 | 0.6 | 0.3 | 0.05 | 0.028868 | 0.05 | 0.028868 | 1.084e-14 | 1.084e-14 | 0 | 0 | 0.30277 | 0 | 1.8255e+54 | 2 | 0.60553
30 | 0.6 | 0.3 | 0.05 | 0.028868 | 0.05 | 0.028868 | 1.084e-14 | 1.084e-14 | 0 | 0 | 0.30277 | 0 | 1.8255e+54 | 2 | 0.60553
35 | 0.6 | 0.3 | 0.05 | 0.028868 | 0.05 | 0.028868 | 1.084e-14 | 1.084e-14 | 0 | 0 | 0.30277 | 0 | 1.8255e+54 | 2 | 0.60553
40 | 0.6 | 0.3 | 0.05 | 0.028868 | 0.05 | 0.028868 | 1.084e-14 | 1.084e-14 | 0 | 0 | 0.30277 | 0 | 1.8255e+54 | 2 | 0.60553
Note on C5: Certificate of Calubration Digithermometer with PRT senror
Note on G5: ค่าความละเอียดในการอ่านของ UUC
Note on D6: Divisor = 2
Note on F6: Divisor = √3
Note on H6: Divisor = √3
Note on J6: Divisor = 1
Note on L6: Divisor = 1

## Uncertainty Budget(30 to 70%RH)
Uncertainty Budget Humidity Chamber (Humidity)
Unit: %RH
Nominal Value | Uncertainty of STD |  | Resolution of STD |  | Resolution of UUC |  | Repeatability STD |  | Repeatability UUC |  | Calculation (%RH) |  | Uc | Ui | Veff | K95 | U95%
%RH | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Value | Value | Value | Value
30 | 3.2 | 1.6 | 0.05 | 0.028868 | 0.05 | 0.028868 | 0 | 0 | 0 | 0 | 0.6 | 0.34641 | 1.6376 | 0 | ∞ | 2 | 3.2752
50 | 3.2 | 1.6 | 0.05 | 0.028868 | 0.05 | 0.028868 | 0 | 0 | 0 | 0 | 0.6 | 0.34641 | 1.6376 | 0 | ∞ | 2 | 3.2752
70 | 3.2 | 1.6 | 0.05 | 0.028868 | 0.05 | 0.028868 | 0 | 0 | 0 | 0 | 0.6 | 0.34641 | 1.6376 | 0 | ∞ | 2 | 3.2752
Note on C5: Certificate of Calubration Digithermometer with PRT senror
Note on E5: ค่าความละเอียดในการอ่านของ STD = 0.001 C
Note on G5: ค่าความละเอียดในการอ่านของ UUC
Note on D6: Divisor = 2
Note on F6: Divisor = √3
Note on H6: Divisor = √3
Note on J6: Divisor = 1
Note on L6: Divisor = 1
Note on N6: Divisor = 1

## Cert of STD
Temperature & Humidity Data Logger
SP-ST-005
Due Date |  |  |  | 2016-05-28
STD | UUC | Uncert |  | STD | UUC | Uncert
°C |  |  |  | %RH
19.83 | 19.9 | 0.6 | °C | 30.5 | 29.2 | 3.2 | %RH
29.73 | 29.7 | 0.6 | °C | 51.1 | 49.7 | 3.2 | %RH
39.95 | 39.9 | 0.6 | °C | 70.7 | 70.2 | 3.2 | %RH
Note on A6: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on A8: Nathaphol Boonmee: Normal Value
Note on C8: Update Uncertainty ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on E8: Nathaphol Boonmee: Normal Value
Note on G8: Update Uncertainty ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง