## Data Record (Pitch)
SP METROLOGY SYSTEM THAILAND | [10 empty] | Certificate No. : |  |  |  | SPR16090001-4 | [7 empty] | Page |  | 1 | of | 1
[11 empty] | Receive Date : |  |  |  | 2016-09-21 |  |  |  |  | Calibration Date : |  |  | 2016-09-22
Equipment Name | [10 empty] | Temp & Humiduty : |  |  |  |  | 20 | oC | 50 | %RH
Thread Plug Gauge | [10 empty] | Location |  |  |  |  | 50 | [6 empty] | On Site
Customer Name : |  |  |  |  | TT
Equipment Name : |  |  |  |  | Thread Plug Gauge | [7 empty] | Manufacturer : |  |  |  | ISOKU
Model : |  | AB465 | [6 empty] | Serial No. : |  |  | 12378 | [5 empty] | ID No : |  | lalsmdglop-
Range : |  |  | M15xP1.15 GRII | [5 empty] | M15xP1.15 IPII
Overall Inspection | [6 empty] | Good |  |  |  | Not Good
Referance Standard : | [12 empty] | Due Date :
Referance Standard : | [12 empty] | Due Date :
Symbol of Thread Plug Gauge |  |  |  |  | Pitch Diameter | [11 empty] | Major Diameter
[5 empty] | Nominal Value (mm) |  |  | Permissible Deviation (μm) | [8 empty] | Nominal Value (mm) |  |  | Permissible Deviation (μm)
[8 empty] | Upper |  |  | Lower |  |  | Tolerance | [5 empty] | Upper |  | Lower |  |  | Tolerance
M15xP1.15 GRII |  |  |  |  | 14.232 |  |  | 23 |  |  | 12 |  |  | 16 |  |  | 14.222 |  |  | 10 |  | 11 |  |  | 11
M15xP1.15 IPII |  |  |  |  | 14.283 |  |  | 45 |  |  | 10 |  |  | 35 |  |  | 14.212 |  |  | 10 |  | 11 |  |  | 11
1. Measurement Results | [27 empty] | มุมเอียงสันเกลียว ( Thread angle ) : ( ° )
Description : |  |  |  |  | M | 10 |  | x | P | 1.25 |  |  | GPII |  |  |  | Pitch Diameter [E] |  |  |  |  | 9.188 |  |  | mm |  |  | ค่าที่ระบุ | a
Thread angle: | [5 empty] | 60 | [10 empty] | Best diameter (dD) |  |  |  |  | 0.725 |  |  | mm |  |  |  | 29° | 30° | 55° | 60°
[17 empty] | 3-wire diameter (do) |  |  |  |  | 0.70863 |  |  | mm |  |  |  | 1.9334 | 1.866 | 0.9605 | 0.866
[29 empty] | 4.9939 | 4.8637 | 3.1657 | 3
Nominal |  |  |  | Position |  |  | Standard Reading | [11 empty] | Average |  | Pitch Dia [E] |  |  | Repeatability
[7 empty] | X1 |  |  | X2 |  |  | X3 |  |  | X4
X |  |  |  | 1/5T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 8.9566 |  |  | 0
|  |  |  | 1/2T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 8.9566
|  |  |  | 4/5T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 8.9566
Y |  |  |  | 1/5T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 8.9566
|  |  |  | 1/2T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 8.9566
|  |  |  | 4/5T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 8.9566
Description : |  |  |  |  | M | 10 |  | x | P | 1.25 |  |  | IPII |  |  |  | Pitch Diameter [E] |  |  |  |  | 9.188 |  |  | mm |  |  | ค่าที่ระบุ | a
Thread angle: | [5 empty] | 60 | [10 empty] | Best diameter : |  |  |  |  | 0.725 |  |  | mm |  |  |  | 29° | 30° | 55° | 60°
[17 empty] | 3-wire diameter : |  |  |  |  | 0.70863 |  |  | mm |  |  |  | 1.9334 | 1.866 | 0.9605 | 0.866
[29 empty] | 4.9939 | 4.8637 | 3.1657 | 3
Nominal |  |  |  | Position |  |  | Standard Reading | [11 empty] | Average |  | Pitch Dia [E] |  |  | Repeatability
[7 empty] | X1 |  |  | X2 |  |  | X3 |  |  | X4
X |  |  |  | 1/5T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 8.9566 |  |  | 0
|  |  |  | 1/2T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 8.9566
|  |  |  | 4/5T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 8.9566
Y |  |  |  | 1/5T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 8.9566
|  |  |  | 1/2T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 8.9566
|  |  |  | 4/5T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 8.9566
| Calibrated By : |  |  |  |  | Ms. Arunkamon Raramanus
|  |  |  | 11 |  | Ms. Arunkamon Raramanus

## Data Record (Major)
SP METROLOGY SYSTEM THAILAND | [10 empty] | Certificate No. : |  |  |  | SPR16090001-4 | [7 empty] | Page | 1 | of | 1
[11 empty] | Receive Date : |  |  |  | 2016-09-21 |  |  |  |  | Calibration Date : |  |  | 2016-09-22
Equipment Name | [10 empty] | Temp & Humiduty : |  |  |  |  | 20 | oC | 50 | %RH
Thread Plug Gauge | [10 empty] | Location |  |  |  |  | In Lab | [6 empty] | On Site
Customer Name : |  |  |  |  | TT
Equipment Name : |  |  |  |  | Thread Plug Gauge | [7 empty] | Manufacturer : |  |  |  | ISOKU
Model : |  | AB465 | [6 empty] | Serial No. : |  |  | 12378 | [5 empty] | ID No : |  | lalsmdglop-
Range : |  |  | M15xP1.15 GRII | [5 empty] | M15xP1.15 IPII
Overall Inspection | [6 empty] | Good |  |  |  | Not Good
Referance Standard : | [12 empty] | Due Date :
Referance Standard : | [12 empty] | Due Date :
Symbol of Thread Plug Gauge |  |  |  |  | Pitch Diameter | [11 empty] | Major Diameter
[5 empty] | Nominal Value (mm) |  |  | Permissible Deviation (μm) | [8 empty] | Nominal Value (mm) |  |  | Permissible Deviation (μm)
[8 empty] | Upper |  |  | Lower |  |  | Tolerance | [5 empty] | Upper |  | Lower |  | Tolerance
M15xP1.15 GRII |  |  |  |  | 14.232 |  |  | 23 |  |  | 12 |  |  | 16 |  |  | 14.222 |  |  | 10 |  | 11 |  | 11
M15xP1.15 IPII |  |  |  |  | 14.283 |  |  | 45 |  |  | 10 |  |  | 35 |  |  | 14.212 |  |  | 10 |  | 11 |  | 11
M15xP1.15 GRII
Nominal |  |  |  | Position |  |  | Standard Reading | [11 empty] | Average |  | Repeatability
[7 empty] | X1 |  |  | X2 |  |  | X3 |  |  | X4
X |  |  |  | 1/5T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 0
|  |  |  | 1/2T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10
|  |  |  | 4/5T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10
Y |  |  |  | 1/5T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10
|  |  |  | 1/2T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10
|  |  |  | 4/5T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10
M15xP1.15 IPII
Nominal |  |  |  | Position |  |  | Standard Reading | [11 empty] | Average |  | Repeatability
[7 empty] | X1 |  |  | X2 |  |  | X3 |  |  | X4
X |  |  |  | 1/5T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 0
|  |  |  | 1/2T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10
|  |  |  | 4/5T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10
Y |  |  |  | 1/5T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10
|  |  |  | 1/2T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10
|  |  |  | 4/5T |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  |  | 10
| Calibrated By : |  |  |  |  | Ms. Arunkamon Raramanus
|  |  |  | 11 |  | Ms. Arunkamon Raramanus

## Certificate
Certificate of Calibration
| Certificate Number |  |  |  | : | SPR16090001-4 | [7 empty] | Page : 1 of 3
| Customer |  |  |  | :
| Equipment Name |  |  |  | : | Thread Plug Gauge
| Manufacturer |  |  |  | : | 0
| Model |  |  |  | : | 0
| Serial Number |  |  |  | : | 0
| ID. Number |  |  |  | : | 0
Environmental Conditions
| Ambient Temperature |  |  |  | : | 20 °C ± 1 °C | Received Date |  |  |  |  | : | 2016-09-21
| Relative Humidity |  |  |  | : | 50% ± 15 % | Calibration Date |  |  |  |  | : | 0
| Location of Calibration |  |  |  | : | In-Lab | Recommended Due Date |  |  |  |  | : | 1900-12-30
| Calibration Procedure |  |  |  | : | SP-CPT-04-20
Method of Calibration
This certifies that the above instrument was calibrated in compliance with the calibration system
requirement of ISO/IEC 17025:2005 in accordance with reference procedure. Standards used to perform
this calibration are certified by to NIST or equivalent, National metrology institute, Natural physical constants,
consensus standards. The result reported herein apply only to the calibration of the item described above.
All calibrations are performed within manufacture's specifications.The calibration certificate shall not be
reproduced except in full,without written approval of SP Metrology System (Thailand).
| Date of Issue |  | : | 1899-12-31 |  |  | Approved by :
| Calibrated by |  | : | Ms. Arunkamon Raramanus |  |  |  | 3 | ( Mr. Natthaphol Boonmee )
Authorized Signatory
| 11 | Ms. Arunkamon Raramanus | [7 empty] | 1 | Mr.Sombut Srikampa
[10 empty] | 3 | Mr. Natthaphol Boonmee
Note on Q36: ระบุ ID ประจำตัวพนักงาน

## Report
Certificate Report
| Certificate Number |  | : | SPR16090001-4 |  |  |  | Page : 2 of 4
Reference Standards
| Equipment Name |  |  | Model | Serial No. | Certificate No. | Due. Date
| Universal Length Measuring |  |  | LMI 01-680 PC | 050021 | 1000959-1 | 2017-04-28
Traceability
This certification is traceable to the International System of Unit maintained at :
-The National Institute of Metrology ( Thailand ), NIMT.

## Result (Pitch)
Result of Calibration
|  | Certificate Number |  |  | : | SPR16090001-4 | [7 empty] | Page : 3 of 4
| Symbol of Thread Plug Gauge |  | Pitch Diameter | [6 empty] | Major Diameter
|  |  | Nominal Value (mm) |  |  | Permissible Deviation (μm) |  |  |  | Nominal Value (mm) |  | Permissible Deviation (μm)
[6 empty] | Upper |  | Lower | Tolerance |  |  | Upper |  | Lower | Tolerance
| M15xP1.15 GRII |  | 14.232 |  |  | 23 |  | 12 | 16 | 14.222 |  | 10 |  | 11 | 11
| M15xP1.15 IPII |  | 14.283 |  |  | 45 |  | 10 | 35 | 14.212 |  | 10 |  | 11 | 11
Measurement Results Pitch Diameter
| Symbol of Thread Plug Gague |  |  | Positions |  |  | Measured Values (mm) |  |  |  | Deviation (mm) |  | Uncertainty ( ± ) µm
[7 empty] | x-axis |  | y-axis
| M15xP1.15 GRII |  |  | 1/5 T |  |  | 8.9566 |  | 8.9566 |  | 5.2754 |  | 0.4763
|  |  |  | 1/2 T |  |  | 8.9566 |  | 8.9566
|  |  |  | 4/5 T |  |  | 8.9566 |  | 8.9566
| M15xP1.15 IPII |  |  | 1/5 T |  |  | 8.9566 |  | 8.9566 |  | 5.3264 |  | 0.4763
|  |  |  | 1/2 T |  |  | 8.9566 |  | 8.9566
|  |  |  | 4/5 T |  |  | 8.9566 |  | 8.9566

## Result (Major)
Result of Calibration
|  | Certificate Number | : | SPR16090001-4 |  |  |  | Page : 4 of 4
Measurement Results Major Diameter
|  | Symbol of Thread Plug Gague | Positions |  | Measured Values (mm) |  | Deviation (mm) | Uncertainty ( ± ) µm
[5 empty] | x-axis | y-axis
|  | M15xP1.15 GRII | 1/5 T |  | 8.9566 | 8.9566 | 5.2654 | 0.27201
|  |  | 1/2 T |  | 8.9566 | 8.9566
|  |  | 4/5 T |  | 8.9566 | 8.9566
|  | M15xP1.15 IPII | 1/5 T |  | 8.9566 | 8.9566 | 5.2554 | 0.27201
|  |  | 1/2 T |  | 8.9566 | 8.9566
|  |  | 4/5 T |  | 8.9566 | 8.9566
Measurement Uncertainty
The reported uncertainty of measurement is the expanded uncertainty obtained by multiplying
the standard uncertainty with the coverage factor k = 2.00, providing a level of confidence approximately 95%
- End of Certificate -

## Uncertainty Budget(Pitch)
Uncertainty Budget of Thread Plug Gauge (Pitch)
Nominal Value | Repeatability |  | Uncertainty of 3 Wire |  | Uncertainty of Gauge Block |  | Uncertainty of ULM |  | Resolution of ULM |  | Flank Angle |  | Elastic Deformation |  | Temperature Effect |  | Uc | Ui | Veff | K95 | U95%
(mm) | (mm) |  | (mm) |  | (mm) |  | (mm) |  | (mm) |  | (mm) |  | (mm) |  | (mm) | [5 empty] | (µm)
Value | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Value | Value | Value | Value
9.188 | 0 | 0 | 0.0004 | 0.0002 | 0 | 0 | 0.00021 | 0.00012124 | 5e-05 | 2.8868e-05 | 5.6703e-05 | 3.2738e-05 | 1.417e-05 | 8.1808e-06 | 1.15e-05 | 6.6395e-06 | 0.00023815 | 0 | ∞ | 2 | 0.4763
9.188 | 0 | 0 | 0.0004 | 0.0002 | 0 | 0 | 0.00021 | 0.00012124 | 5e-05 | 2.8868e-05 | 5.6703e-05 | 3.2738e-05 | 1.417e-05 | 8.1808e-06 | 1.15e-05 | 6.6395e-06 | 0.00023815 | 0 | ∞ | 2 | 0.4763
10 | #REF! | #REF! | 0.0004 | 0.0002 | 0 | 0 | 0.00021 | 0.00012124 | 5e-05 | 2.8868e-05 | 5.6703e-05 | 3.2738e-05 | 1.417e-05 | 8.1808e-06 | 1.15e-05 | 6.6395e-06 | #REF! | #REF! | #REF! | #REF! | #REF!
20 | #REF! | #REF! | 0.0004 | 0.0002 | 0 | 0 | 0.00023 | 0.00013279 | 5e-05 | 2.8868e-05 | 5.6703e-05 | 3.2738e-05 | 1.417e-05 | 8.1808e-06 | 1.15e-05 | 6.6395e-06 | #REF! | #REF! | #REF! | #REF! | #REF!
30 | #REF! | #REF! | 0.0004 | 0.0002 | 0 | 0 | 0.00027 | 0.00015588 | 5e-05 | 2.8868e-05 | 5.6703e-05 | 3.2738e-05 | 1.417e-05 | 8.1808e-06 | 1.15e-05 | 6.6395e-06 | #REF! | #REF! | #REF! | #REF! | #REF!
40 | #REF! | #REF! | 0.0004 | 0.0002 | 0 | 0 | 0.00027 | 0.00015588 | 5e-05 | 2.8868e-05 | 5.6703e-05 | 3.2738e-05 | 1.417e-05 | 8.1808e-06 | 1.15e-05 | 6.6395e-06 | #REF! | #REF! | #REF! | #REF! | #REF!
50 | #REF! | #REF! | 0.0004 | 0.0002 | 0 | 0 | 0.00027 | 0.00015588 | 5e-05 | 2.8868e-05 | 5.6703e-05 | 3.2738e-05 | 1.417e-05 | 8.1808e-06 | 1.15e-05 | 6.6395e-06 | #REF! | #REF! | #REF! | #REF! | #REF!
60 | #REF! | #REF! | 0.0004 | 0.0002 | 0 | 0 | 0.00032 | 0.00018475 | 5e-05 | 2.8868e-05 | 5.6703e-05 | 3.2738e-05 | 1.417e-05 | 8.1808e-06 | 1.15e-05 | 6.6395e-06 | #REF! | #REF! | #REF! | #REF! | #REF!
70 | #REF! | #REF! | 0.0004 | 0.0002 | 0 | 0 | 0.00032 | 0.00018475 | 5e-05 | 2.8868e-05 | 5.6703e-05 | 3.2738e-05 | 1.417e-05 | 8.1808e-06 | 1.15e-05 | 6.6395e-06 | #REF! | #REF! | #REF! | #REF! | #REF!
80 | #REF! | #REF! | 0.0004 | 0.0002 | 0 | 0 | 0.00039 | 0.00022517 | 5e-05 | 2.8868e-05 | 5.6703e-05 | 3.2738e-05 | 1.417e-05 | 8.1808e-06 | 1.15e-05 | 6.6395e-06 | #REF! | #REF! | #REF! | #REF! | #REF!
90 | #REF! | #REF! | 0.0004 | 0.0002 | 0 | 0 | 0.00039 | 0.00022517 | 5e-05 | 2.8868e-05 | 5.6703e-05 | 3.2738e-05 | 1.417e-05 | 8.1808e-06 | 1.15e-05 | 6.6395e-06 | #REF! | #REF! | #REF! | #REF! | #REF!
100 | #REF! | #REF! | 0.0004 | 0.0002 | 0 | 0 | 0.00039 | 0.00022517 | 5e-05 | 2.8868e-05 | 5.6703e-05 | 3.2738e-05 | 1.417e-05 | 8.1808e-06 | 1.15e-05 | 6.6395e-06 | #REF! | #REF! | #REF! | #REF! | #REF!
125 | #REF! | #REF! | 0.0004 | 0.0002 | 0.00018 | 9e-05 | 0.00039 | 0.00022517 | 5e-05 | 2.8868e-05 | 5.6703e-05 | 3.2738e-05 | 1.417e-05 | 8.1808e-06 | 1.15e-05 | 6.6395e-06 | #REF! | #REF! | #REF! | #REF! | #REF!
150 | #REF! | #REF! | 0.0004 | 0.0002 | 0.00018 | 9e-05 | 0.00039 | 0.00022517 | 5e-05 | 2.8868e-05 | 5.6703e-05 | 3.2738e-05 | 1.417e-05 | 8.1808e-06 | 1.15e-05 | 6.6395e-06 | #REF! | #REF! | #REF! | #REF! | #REF!
Elastic Deformation
[13 empty] | l1 | 1.1459e-12
[13 empty] | l2 | 1.1459e-12
[13 empty] | d | 2.8339e-08 |  | m | A2 | 2.8339e-05 | mm
Note on G4: Certificate of Calubration 3 Wire
Note on I4: Certificate of Calubration Gauge Block
Note on K4: Certificate of Calubration ULM
Note on S4: (Normal Value * 11.5*10^-6 * 1)
Note on F6: Divisor = 1
Note on H6: Divisor = 2
Note on J6: Divisor = 2
Note on L6: Divisor = 2
Note on N6: Divisor = √3
Note on P6: Divisor = √3
Note on R6: Divisor = √3
Note on T6: Divisor = √3

## Uncertainty Budget(Major)
Uncertainty Budget of Thread Plug Gauge (Major)
Nominal Value | Repeatability |  | Uncertainty of Gauge Block |  | Uncertainty of ULM |  | Resolution of ULM |  | Elastic Deformation |  | Temperature Effect |  | Uc | Ui | Veff | K95 | U95%
(mm) | (mm) |  | (mm) |  | (mm) |  | (mm) |  | (mm) |  | (mm) | [5 empty] | (µm)
Value | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Value | Value | Value | Value
9.188 | 0 | 0 | 0 | 0 | 0.00021 | 0.00012124 | 5e-06 | 2.8868e-06 | 1.417e-05 | 8.1808e-06 | 0.00010566 | 6.1004e-05 | 0.000136 | 0 | ∞ | 2 | 0.27201
9.188 | 0 | 0 | 0 | 0 | 0.00021 | 0.00012124 | 5e-06 | 2.8868e-06 | 1.417e-05 | 8.1808e-06 | 0.00010566 | 6.1004e-05 | 0.000136 | 0 | ∞ | 2 | 0.27201
10 | #REF! | #REF! | 0 | 0 | 0.00021 | 0.00012124 | 5e-06 | 2.8868e-06 | 1.417e-05 | 8.1808e-06 | 0.000115 | 6.6395e-05 | #REF! | #REF! | #REF! | #REF! | #REF!
20 | #REF! | #REF! | 0 | 0 | 0.00023 | 0.00013279 | 5e-06 | 2.8868e-06 | 1.417e-05 | 8.1808e-06 | 0.00023 | 0.00013279 | #REF! | #REF! | #REF! | #REF! | #REF!
30 | #REF! | #REF! | 0 | 0 | 0.00027 | 0.00015588 | 5e-06 | 2.8868e-06 | 1.417e-05 | 8.1808e-06 | 0.000345 | 0.00019919 | #REF! | #REF! | #REF! | #REF! | #REF!
40 | #REF! | #REF! | 0 | 0 | 0.00027 | 0.00015588 | 5e-06 | 2.8868e-06 | 1.417e-05 | 8.1808e-06 | 0.00046 | 0.00026558 | #REF! | #REF! | #REF! | #REF! | #REF!
50 | #REF! | #REF! | 0 | 0 | 0.00027 | 0.00015588 | 5e-06 | 2.8868e-06 | 1.417e-05 | 8.1808e-06 | 0.000575 | 0.00033198 | #REF! | #REF! | #REF! | #REF! | #REF!
60 | #REF! | #REF! | 0 | 0 | 0.00032 | 0.00018475 | 5e-06 | 2.8868e-06 | 1.417e-05 | 8.1808e-06 | 0.00069 | 0.00039837 | #REF! | #REF! | #REF! | #REF! | #REF!
70 | #REF! | #REF! | 0 | 0 | 0.00032 | 0.00018475 | 5e-06 | 2.8868e-06 | 1.417e-05 | 8.1808e-06 | 0.000805 | 0.00046477 | #REF! | #REF! | #REF! | #REF! | #REF!
80 | #REF! | #REF! | 0 | 0 | 0.00039 | 0.00022517 | 5e-06 | 2.8868e-06 | 1.417e-05 | 8.1808e-06 | 0.00092 | 0.00053116 | #REF! | #REF! | #REF! | #REF! | #REF!
90 | #REF! | #REF! | 0 | 0 | 0.00039 | 0.00022517 | 5e-06 | 2.8868e-06 | 1.417e-05 | 8.1808e-06 | 0.001035 | 0.00059756 | #REF! | #REF! | #REF! | #REF! | #REF!
100 | #REF! | #REF! | 0 | 0 | 0.00039 | 0.00022517 | 5e-06 | 2.8868e-06 | 1.417e-05 | 8.1808e-06 | 0.00115 | 0.00066395 | #REF! | #REF! | #REF! | #REF! | #REF!
125 | #REF! | #REF! | 0.00018 | 9e-05 | 0.00039 | 0.00022517 | 5e-06 | 2.8868e-06 | 1.417e-05 | 8.1808e-06 | 0.0014375 | 0.00082994 | #REF! | #REF! | #REF! | #REF! | #REF!
150 | #REF! | #REF! | 0.00018 | 9e-05 | 0.00039 | 0.00022517 | 5e-06 | 2.8868e-06 | 1.417e-05 | 8.1808e-06 | 0.001725 | 0.00099593 | #REF! | #REF! | #REF! | #REF! | #REF!
Elastic Deformation
[9 empty] | l1 | 1.1459e-12
[9 empty] | l2 | 1.1459e-12
[9 empty] | d | 2.8339e-08 |  | m | A2 | 2.8339e-05 | mm
Note on F4: Certificate of Calubration ULM
Note on H4: Certificate of Calubration ULM
Note on N4: (Normal Value * 11.5*10^-6 * 1)
Note on E6: Divisor = 1
Note on G6: Divisor = 2
Note on I6: Divisor = 2
Note on K6: Divisor = √3
Note on M6: Divisor = √3
Note on O6: Divisor = √3

## Cert of STD
Certificate of Calibration (ULM) | [5 empty] | Certificate of Calibration (Three Wire) |  |  |  |  | Certificate of Calibration (Gauge Block)
SP-SD-001 | [5 empty] | SP-SD-002 |  |  |  |  | SP-SD-009
1 | mm | 0.21 | µm | 0.00021 | mm | 0.17 | 0.4 | µm | 0.0004 | mm | 2.5 | 0.08 | µm | 8e-05 | mm
1.01 | mm | 0.21 | µm | 0.00021 | mm | 0.195 | 0.4 | µm | 0.0004 | mm | 5.1 | 0.09 | µm | 9e-05 | mm
1.05 | mm | 0.21 | µm | 0.00021 | mm | 0.22 | 0.4 | µm | 0.0004 | mm | 7.7 | 0.09 | µm | 9e-05 | mm
1.1 | mm | 0.21 | µm | 0.00021 | mm | 0.25 | 0.4 | µm | 0.0004 | mm | 10.3 | 0.09 | µm | 9e-05 | mm
2 | mm | 0.21 | µm | 0.00021 | mm | 0.29 | 0.4 | µm | 0.0004 | mm | 12.9 | 0.09 | µm | 9e-05 | mm
5 | mm | 0.21 | µm | 0.00021 | mm | 0.335 | 0.4 | µm | 0.0004 | mm | 15 | 0.1 | µm | 0.0001 | mm | 10.2885 | 10.2884 | 10.2885 | 10.2885 | 5.7735e-05 | 3.3333e-05
10 | mm | 0.21 | µm | 0.00021 | mm | 0.39 | 0.4 | µm | 0.0004 | mm | 17.6 | 0.1 | µm | 0.0001 | mm
20 | mm | 0.23 | µm | 0.00023 | mm | 0.455 | 0.4 | µm | 0.0004 | mm | 20.2 | 0.1 | µm | 0.0001 | mm
30 | mm | 0.27 | µm | 0.00027 | mm | 0.53 | 0.4 | µm | 0.0004 | mm | 22.8 | 0.1 | µm | 0.0001 | mm
40 | mm | 0.27 | µm | 0.00027 | mm | 0.62 | 0.4 | µm | 0.0004 | mm | 25 | 0.11 | µm | 0.00011 | mm
50 | mm | 0.27 | µm | 0.00027 | mm | 0.725 | 0.4 | µm | 0.0004 | mm | 50 | 0.13 | µm | 0.00013 | mm
60 | mm | 0.32 | µm | 0.00032 | mm | 0.895 | 0.4 | µm | 0.0004 | mm | 75 | 0.16 | µm | 0.00016 | mm
70 | mm | 0.32 | µm | 0.00032 | mm | 1.1 | 0.4 | µm | 0.0004 | mm | 100 | 0.18 | µm | 0.00018 | mm
80 | mm | 0.39 | µm | 0.00039 | mm | 1.35 | 0.4 | µm | 0.0004 | mm
90 | mm | 0.39 | µm | 0.00039 | mm | 1.65 | 0.4 | µm | 0.0004 | mm
100 | mm | 0.39 | µm | 0.00039 | mm | 2.05 | 0.4 | µm | 0.0004 | mm
[6 empty] | 2.55 | 0.4 | µm | 0.0004 | mm
[6 empty] | 3.2 | 0.4 | µm | 0.0004 | mm
[6 empty] | 4 | 0.4 | µm | 0.0004 | mm
[6 empty] | 5.05 | 0.4 | µm | 0.0004 | mm
[6 empty] | 6.35 | 0.4 | µm | 0.0004 | mm
Note on B3: Universal Length Measuring
Note on I3: Grade 0
Note on O3: Grade 0
Note on B4: Normal Value (mm)
Note on D4: มาจากค่าความไม่แน่นอนของการวัด ULM
Note on F4: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน
Note on J4: Nathaphol Boonmee: มาจากค่าความไม่แน่นอนของการวัด Three Wire
Note on L4: Nathaphol Boonmee: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน
Note on P4: ค่าความไม่แน่นอนของการวัดจากใบรับรองผลการสอบเทียบ Gauge Block
Note on R4: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน