## Data Record
SP METROLOGY SYSTEM THAILAND | [7 empty] | Certificate No. : |  | SPR15120012-1 | [7 empty] | Page | 1 | of | 1
[8 empty] | Receive Date : |  | 2015-01-01 |  |  |  | Calibration Date : |  |  |  | 2015-05-05
Equipment Name | [7 empty] | Temp & Humiduty : |  |  | 20 | oC | 50 | %RH
Plain Snap Gauge / Gap Gauge | [7 empty] | Location |  | In Lab | [6 empty] | On Site
Customer Name : |  |  |  |  | SP METROLOGY SYSTEM (THAILAND) CO.,LTD.
Equipment Name : |  |  |  |  | lklop-\ | [5 empty] | Manufacturer : |  |  |  | asd
Model : |  | 123 |  |  |  |  | Serial No. |  | 456 |  |  |  | ID No : |  | 789
Range : |  |  | 0 |  | mm
Overall Inspection | [5 empty] | Good |  |  | Not Good
Referance Standard : | [8 empty] | Due Date :
1. Measurement Results
| Nominal |  |  | Positions |  | Standard Reading | [5 empty] | Average |  |  |  | Error |  |  | Repeatability
Value
| ( mm ) |  |  |  |  | 1 |  | 2 | 3 | 4
| 2 |  |  | X-Axis | 1/5T | 2 |  | 2 | 2 | 2 |  | 2 |  |  |  | 0 |  |  | 0
[5 empty] | 1/2T | 2 |  | 2 | 2 | 2 |  | 2 |  |  |  | 0
[5 empty] | 4/5T | 2 |  | 2 | 2 | 2 |  | 2 |  |  |  | 0
|  |  |  | Y-Axis | 1/5T | 2 |  | 2 | 2 | 2 |  | 2 |  |  |  | 0
[5 empty] | 1/2T | 2 |  | 2 | 2 | 2 |  | 2 |  |  |  | 0
[5 empty] | 4/5T | 2 |  | 2 | 2 | 2 |  | 2 |  |  |  | 0
| 2.5 |  |  | X-Axis | 1/5T | 2 |  | 2 | 2 | 2 |  | 2 |  |  |  | 0.5 |  |  | 0
[5 empty] | 1/2T | 2 |  | 2 | 2 | 2 |  | 2 |  |  |  | 0.5
[5 empty] | 4/5T | 2 |  | 2 | 2 | 2 |  | 2 |  |  |  | 0.5
|  |  |  | Y-Axis | 1/5T | 2 |  | 2 | 2 | 2 |  | 2 |  |  |  | 0.5
[5 empty] | 1/2T | 2 |  | 2 | 2 | 2 |  | 2 |  |  |  | 0.5
[5 empty] | 4/5T | 2 |  | 2 | 2 | 2 |  | 2 |  |  |  | 0.5
Calibrated By :

## Certificate
Certificate of Calibration
| Certificate Number |  |  | : | SPR15120012-1 |  |  |  |  | Page : 1 of 3
| Customer |  |  | : | SP METROLOGY SYSTEM (THAILAND) CO.,LTD.
88/115, Moo 3, T. Klongsam
A. Klongluang, Pathumthani 12120
| Equipment Name |  |  | : | lklop-\
| Manufacturer |  |  | : | #REF!
| Model |  |  | : | 123
| Serial Number |  |  | : | 456
| ID. Number |  |  | : | 789
| Received Date |  |  | : | 2015-01-01
| Calibration Date |  |  | : | 2015-05-05
| Recommended Due Date |  |  | : | 2016-05-05
Environmental Conditions
| Ambient Temperature |  |  | : | 20 °C | ± 1 °C
| Relative Humidity |  |  | : | 50% | ± 15 %
| Location of Calibration |  |  | : | In-Lab
Method of Calibration
This certifies that the above instrument was calibrated in compliance with the calibration system
requirement of ISO/IEC 17025:2005 in accordance with reference procedure. standards used to perform this
calibration are certified by to NIST or equivalent, National metrology institute, Natural physical constants,
consensus standards. the result reported herein apply only to the calibration of the item described above.
| all calibrations are performed manufacture's specifications, full, without the expressed written consent of | [9 empty] | 1 | Mr.Sombut Srikampa
| SP Metrology System (Thailand). | [9 empty] | 3 | Mr. Natthaphol Boonmee
[11 empty] | 8 | Mr. Vichan Ananta
[11 empty] | 9 | Mr.Kittikorn Kingmali
| Date of Issue : |  | 2015-05-06 |  |  |  | Approved by : |  |  |  | 10 | Mr.Chainarong Matchayamat
[8 empty] | 3 | ( Mr. Natthaphol Boonmee ) |  | 11 | Ms. Arunkamon Raramanus
| Calibrated by : |  | Ms. Arunkamon Raramanus | [5 empty] | Authorized Signatory
Note on O39: ระบุ ID ประจำตัวพนักงาน

## Report
Certificate Report
| Certificate Number |  | : | SPR15120012-1 |  |  |  | Page : 2 of 3
Reference Standards
| Equipment Name |  |  | Model | Serial No. | Certificate No. | Due. Date
| Universal Length Measuring |  |  | LMI 01-680 PC | 050021 | #REF! | #REF!
Traceability
This certification is traceable to the International System of Unit maintained at :
-The National Institute of Metrology ( Thailand ), NIMT.

## Result
Result of Calibration
| Certificate No. : |  | SPR15120012-1 |  |  |  |  | Page : 3 of 3
Measurement Positions
1) | [9 empty] | Unit : | mm
| Nominal Diameter | Positions |  | Measured Values |  | Error |  |  | Uncertainty ( ± ) µm
|  |  |  | x-axis | y-axis | x-axis | y-axis
| 2 | 1/5 T |  | 2 | 2 | 0 | 0 |  | 0.25073
|  | 1/2 T |  | 2 | 2 | 0 | 0
|  | 4/5 T |  | 2 | 2 | 0 | 0
| 2.5 | 1/5 T |  | 2 | 2 | 0.5 | 0.5 |  | 0.25152
|  | 1/2 T |  | 2 | 2 | 0.5 | 0.5
|  | 4/5 T |  | 2 | 2 | 0.5 | 0.5
Measurement Uncertainty
The reported uncertainty of measurement is the expanded uncertainty obtained by multiplying the
standard uncertainty with the coverage factor k = 2.00, providing a level of confidence approximately 95%.
- End of Certificate -

## Uncertainty Budget
Uncertainty Budget of Plain Snap Gauge / Gap Gauge
Nominal Value | Uncert of STD Gauge Block |  | Uncert of ULM |  | Temperature Effect |  | Resolution of ULM |  | Elastic Deformation |  | Repeatability |  | Uc | Ui | Veff | K95 | U95%
(mm) | (mm) |  | (mm) |  | (mm) |  | (mm) |  | (mm) |  | (mm) | [5 empty] | (µm)
Value | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Value | Value | Value | Value
2 | 0 | 0 | 0.00021 | 0.00012124 | 2.3e-05 | 1.3279e-05 | 5e-05 | 2.8868e-05 | 4.3021e-06 | 2.4838e-06 | 0 | 0 | 0.00012536 | 0 | ∞ | 2 | 0.25073
2.5 | 0 | 0 | 0.00021 | 0.00012124 | 2.875e-05 | 1.6599e-05 | 5e-05 | 2.8868e-05 | 4.3021e-06 | 2.4838e-06 | 0 | 0 | 0.00012576 | 0 | ∞ | 2 | 0.25152
#REF! | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
6 | 0 | 0 | #REF! | #REF! | 6.9e-05 | 3.9837e-05 | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
8 | 0 | 0 | #REF! | #REF! | 9.2e-05 | 5.3116e-05 | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
12 | 0 | 0 | #REF! | #REF! | 0.000138 | 7.9674e-05 | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16 | 0 | 0 | #REF! | #REF! | 0.000184 | 0.00010623 | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
18 | 0 | 0 | #REF! | #REF! | 0.000207 | 0.00011951 | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
22 | 0 | 0 | #REF! | #REF! | 0.000253 | 0.00014607 | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
25 | 0 | 0 | #REF! | #REF! | 0.0002875 | 0.00016599 | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
28 | 0 | 0 | #REF! | #REF! | 0.000322 | 0.00018591 | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 5e-06 | 2.8868e-06 | 4.3021e-06 | 2.4838e-06 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[9 empty] | A2 | 4.3021e-09
[8 empty] | F = | Uncertainty of Gauging Force in N |  |  |  | 0.05
[8 empty] | dD = | Ball diameter |  | 0.003
[8 empty] | V = | Poisson Ratio of the trip Stylus |  |  | Steel = | 0.28
[8 empty] | E = | Young's modulus |  | Steel = | 2*10^11
Note on D4: Certificate of Calibration Gauge Block
Note on F4: Certificate of Calibration STD ULM
Note on H4: (Normal Value * 11.5*10^-6 * 1)
Note on E6: Divisor = 2
Note on G6: Divisor = √3
Note on I6: Divisor = √3
Note on K6: Divisor = √3
Note on M6: Divisor = √3
Note on O6: Divisor = 1

## Cert of STD
Certificate of Calibration (ULM) | [5 empty] | Certificate of Calibration (Ring Gauge) |  |  |  |  | Certificate of Calibration (Ring Gauge) | [5 empty] | Certificate of Calibration (Gauge Block)
SP-SD-001 | [5 empty] | SP-SD-007 |  |  |  |  | SP-SD-003 | [5 empty] | SP-SD-012
Due Date |  |  | 2016-04-28 |  |  | Due Date |  | 2016-10-08 |  |  | Due Date |  |  | 2016-06-04 |  |  | Due Date |  | 2016-06-09
1 | mm | 0.21 | µm | 0.00021 | mm | 2 | 0.59 | µm | 0.00059 | mm | 13.9962 | X | 0.37033 | µm | 0.00037033 | mm | 125 | 0.37 | µm | 0.00037 | mm
1.01 | mm | 0.21 | µm | 0.00021 | mm | 3 | 0.59 | µm | 0.00059 | mm |  | Y | 0.37033 | µm | 0.00037033 | mm | 150 | 0.39 | µm | 0.00039 | mm
1.05 | mm | 0.21 | µm | 0.00021 | mm | 4 | 0.7 | µm | 0.0007 | mm | [6 empty] | 175 | 0.41 | µm | 0.00041 | mm
1.1 | mm | 0.21 | µm | 0.00021 | mm | 5 | 0.7 | µm | 0.0007 | mm | Certificate of Calibration (Ring Gauge) | [5 empty] | 200 | 0.43 | µm | 0.00043 | mm
2 | mm | 0.21 | µm | 0.00021 | mm | 6 | 0.75 | µm | 0.00075 | mm | SP-SD-004 | [5 empty] | 250 | 0.49 | µm | 0.00049 | mm
5 | mm | 0.21 | µm | 0.00021 | mm | 8 | 0.75 | µm | 0.00075 | mm | Due Date | [5 empty] | 300 | 0.57 | µm | 0.00057 | mm
10 | mm | 0.21 | µm | 0.00021 | mm | 10 | 0.8 | µm | 0.0008 | mm | 49.9965 | X | 2 | µm | 0.002 | mm | 400 | 0.74 | µm | 0.00074 | mm
20 | mm | 0.23 | µm | 0.00023 | mm | 12 | 0.87 | µm | 0.00087 | mm |  | Y | 2 | µm | 0.002 | mm | 500 | 0.91 | µm | 0.00091 | mm
30 | mm | 0.27 | µm | 0.00027 | mm | 16 | 0.99 | µm | 0.00099 | mm
40 | mm | 0.27 | µm | 0.00027 | mm | 18 | 0.99 | µm | 0.00099 | mm
50 | mm | 0.27 | µm | 0.00027 | mm | 20 | 1.1 | µm | 0.0011 | mm
60 | mm | 0.32 | µm | 0.00032 | mm | 22 | 1.2 | µm | 0.0012 | mm
70 | mm | 0.32 | µm | 0.00032 | mm | 25 | 1.2 | µm | 0.0012 | mm
80 | mm | 0.39 | µm | 0.00039 | mm | 28 | 1.4 | µm | 0.0014 | mm
90 | mm | 0.39 | µm | 0.00039 | mm | 30 | 1.4 | µm | 0.0014 | mm
100 | mm | 0.39 | µm | 0.00039 | mm | 75 | 2.8 | µm | 0.0028 | mm
Note on B3: Universal Length Measuring
Note on W3: Grade 0
Note on E4: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on L4: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on S4: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on Y4: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on B5: Normal Value (mm)
Note on D5: มาจากค่าความไม่แน่นอนของการวัด ULM
Note on F5: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน
Note on K5: Nathaphol Boonmee: มาจากค่าความไม่แน่นอนของการวัด Plain Ring Gauge
Note on M5: Nathaphol Boonmee: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน
Note on R5: Nathaphol Boonmee: มาจากค่าความไม่แน่นอนของการวัด Gauge Block
Note on T5: Nathaphol Boonmee: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน
Note on X5: ค่าความไม่แน่นอนของการวัดจากใบรับรองผลการสอบเทียบ Gauge Block
Note on Z5: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน
Note on S10: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on R11: Nathaphol Boonmee: มาจากค่าความไม่แน่นอนของการวัด Gauge Block
Note on T11: Nathaphol Boonmee: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน