## Data Record
SP METROLOGY SYSTEM THAILAND | [9 empty] | Certificate No. |  |  |  | SPR15120012-1 | [11 empty] | Page | 1 | of | 1
[10 empty] | Receive Date |  |  |  | 2015-01-01 | [5 empty] | Calibration Date |  |  | 2015-01-15
Equipment Name | [9 empty] | Temp & Humiduty |  |  |  |  | 20 | oC | 50 | %RH
Plain Plug Gauge/Pin Gauge/3-Wire | [9 empty] | Location |  |  |  | In Lab | [6 empty] | On Site
Customer Name |  |  |  | SP METROLOGY SYSTEM (THAILAND) CO.,LTD.
Equipment Name |  |  |  |  | Plain Plug Gauge | [7 empty] | Manufacturer |  |  |  | N/A
Model | N/A | [6 empty] | Serial No. |  |  | 123 |  |  |  |  | ID No |  | 456
Range |  |  | to |  |  | mm
Overall Inspection | [6 empty] | Good | [5 empty] | Not Good
Referance Standard | [12 empty] | Due Date
Referance Standard | [12 empty] | Due Date
Nominal |  | Position | Measured Value | [19 empty] | Average |  | Repeatability | Error
Value |  |  | X-Axis ( mm ) | [10 empty] | Y-Axis ( mm )
( mm ) |  |  | 1 |  |  | 2 |  |  | 3 |  |  | 4 |  | 1 |  |  | 2 |  | 3 |  |  | 4 | X-AXIS | Y-AXIS
2.5 |  | 1/5T | 2.5 |  |  | 2.5 |  |  | 2.5 |  |  | 2.5 |  | 2.5 |  |  | 2.5 |  | 2.5 |  |  | 2.5 | 2.5 | 2.5 | 0 | 0
|  | 1/2T | 2.5 |  |  | 2.5 |  |  | 2.5 |  |  | 2.5 |  | 2.5 |  |  | 2.5 |  | 2.5 |  |  | 2.5 | 2.5 | 2.5
|  | 4/5T | 2.5 |  |  | 2.5 |  |  | 2.5 |  |  | 2.5 |  | 2.5 |  |  | 2.5 |  | 2.5 |  |  | 2.5 | 2.5 | 2.5
5.1 |  | 1/5T | 5.1 |  |  | 5.1 |  |  | 5.1 |  |  | 5.1 |  | 5.1 |  |  | 5.1 |  | 5.1 |  |  | 5.1 | 5.1 | 5.1 | 0 | 0
|  | 1/2T | 5.1 |  |  | 5.1 |  |  | 5.1 |  |  | 5.1 |  | 5.1 |  |  | 5.1 |  | 5.1 |  |  | 5.1 | 5.1 | 5.1
|  | 4/5T | 5.1 |  |  | 5.1 |  |  | 5.1 |  |  | 5.1 |  | 5.1 |  |  | 5.1 |  | 5.1 |  |  | 5.1 | 5.1 | 5.1
7.7 |  | 1/5T | 7.7 |  |  | 7.7 |  |  | 7.7 |  |  | 7.7 |  | 7.7 |  |  | 7.7 |  | 7.7 |  |  | 7.7 | 7.7 | 7.7 | 0 | 0
|  | 1/2T | 7.7 |  |  | 7.7 |  |  | 7.7 |  |  | 7.7 |  | 7.7 |  |  | 7.7 |  | 7.7 |  |  | 7.7 | 7.7 | 7.7
|  | 4/5T | 7.7 |  |  | 7.7 |  |  | 7.7 |  |  | 7.7 |  | 7.7 |  |  | 7.7 |  | 7.7 |  |  | 7.7 | 7.7 | 7.7
10 |  | 1/5T | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 10 |  |  | 10 |  | 10 |  |  | 10 | 10 | 10 | 0 | 0
|  | 1/2T | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 10 |  |  | 10 |  | 10 |  |  | 10 | 10 | 10
|  | 4/5T | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 10 |  |  | 10 |  | 10 |  |  | 10 | 10 | 10
12.9 |  | 1/5T | 12.9 |  |  | 12.9 |  |  | 12.9 |  |  | 12.9 |  | 12.9 |  |  | 12.9 |  | 12.9 |  |  | 12.9 | 12.9 | 12.9 | 0 | 0
|  | 1/2T | 12.9 |  |  | 12.9 |  |  | 12.9 |  |  | 12.9 |  | 12.9 |  |  | 12.9 |  | 12.9 |  |  | 12.9 | 12.9 | 12.9
|  | 4/5T | 12.9 |  |  | 12.9 |  |  | 12.9 |  |  | 12.9 |  | 12.9 |  |  | 12.9 |  | 12.9 |  |  | 12.9 | 12.9 | 12.9
15 |  | 1/5T | 15 |  |  | 15 |  |  | 15 |  |  | 15 |  | 15 |  |  | 15 |  | 15 |  |  | 15 | 15 | 15 | 0 | 0
|  | 1/2T | 15 |  |  | 15 |  |  | 15 |  |  | 15 |  | 15 |  |  | 15 |  | 15 |  |  | 15 | 15 | 15
|  | 4/5T | 15 |  |  | 15 |  |  | 15 |  |  | 15 |  | 15 |  |  | 15 |  | 15 |  |  | 15 | 15 | 15
20.2 |  | 1/5T | 20.2 |  |  | 20.2 |  |  | 20.2 |  |  | 20.2 |  | 20.2 |  |  | 20.2 |  | 20.2 |  |  | 20.2 | 20.2 | 20.2 | 0 | 0
|  | 1/2T | 20.2 |  |  | 20.2 |  |  | 20.2 |  |  | 20.2 |  | 20.2 |  |  | 20.2 |  | 20.2 |  |  | 20.2 | 20.2 | 20.2
|  | 4/5T | 20.2 |  |  | 20.2 |  |  | 20.2 |  |  | 20.2 |  | 20.2 |  |  | 20.2 |  | 20.2 |  |  | 20.2 | 20.2 | 20.2
22.8 |  | 1/5T | 22.8 |  |  | 22.8 |  |  | 22.8 |  |  | 22.8 |  | 22.8 |  |  | 22.8 |  | 22.8 |  |  | 22.8 | 22.8 | 22.8 | 0 | 0
|  | 1/2T | 22.8 |  |  | 22.8 |  |  | 22.8 |  |  | 22.8 |  | 22.8 |  |  | 22.8 |  | 22.8 |  |  | 22.8 | 22.8 | 22.8
|  | 4/5T | 22.8 |  |  | 22.8 |  |  | 22.8 |  |  | 22.8 |  | 22.8 |  |  | 22.8 |  | 22.8 |  |  | 22.8 | 22.8 | 22.8
25 |  | 1/5T | 25 |  |  | 25 |  |  | 25 |  |  | 25 |  | 25 |  |  | 25 |  | 25 |  |  | 25 | 25 | 25 | 0 | 0
|  | 1/2T | 25 |  |  | 25 |  |  | 25 |  |  | 25 |  | 25 |  |  | 25 |  | 25 |  |  | 25 | 25 | 25
|  | 4/5T | 25 |  |  | 25 |  |  | 25 |  |  | 25 |  | 25 |  |  | 25 |  | 25 |  |  | 25 | 25 | 25
30 |  | 1/5T | 30 |  |  | 30 |  |  | 30 |  |  | 30 |  | 30 |  |  | 30 |  | 30 |  |  | 30 | 30 | 30 | 0 | 0
|  | 1/2T | 30 |  |  | 30 |  |  | 30 |  |  | 30 |  | 30 |  |  | 30 |  | 30 |  |  | 30 | 30 | 30
|  | 4/5T | 30 |  |  | 30 |  |  | 30 |  |  | 30 |  | 30 |  |  | 30 |  | 30 |  |  | 30 | 30 | 30
40 |  | 1/5T | 40 |  |  | 40 |  |  | 40 |  |  | 40 |  | 40 |  |  | 40 |  | 40 |  |  | 40 | 40 | 40 | 0 | 0
|  | 1/2T | 40 |  |  | 40 |  |  | 40 |  |  | 40 |  | 40 |  |  | 40 |  | 40 |  |  | 40 | 40 | 40
|  | 4/5T | 40 |  |  | 40 |  |  | 40 |  |  | 40 |  | 40 |  |  | 40 |  | 40 |  |  | 40 | 40 | 40
50 |  | 1/5T | 50 |  |  | 50 |  |  | 50 |  |  | 50 |  | 50 |  |  | 50 |  | 50 |  |  | 50 | 50 | 50 | 0 | 0
|  | 1/2T | 50 |  |  | 50 |  |  | 50 |  |  | 50 |  | 50 |  |  | 50 |  | 50 |  |  | 50 | 50 | 50
|  | 4/5T | 50 |  |  | 50 |  |  | 50 |  |  | 50 |  | 50 |  |  | 50 |  | 50 |  |  | 50 | 50 | 50
60 |  | 1/5T | 60 |  |  | 60 |  |  | 60 |  |  | 60 |  | 60 |  |  | 60 |  | 60 |  |  | 60 | 60 | 60 | 0 | 0
|  | 1/2T | 60 |  |  | 60 |  |  | 60 |  |  | 60 |  | 60 |  |  | 60 |  | 60 |  |  | 60 | 60 | 60
|  | 4/5T | 60 |  |  | 60 |  |  | 60 |  |  | 60 |  | 60 |  |  | 60 |  | 60 |  |  | 60 | 60 | 60
70 |  | 1/5T | 70 |  |  | 70 |  |  | 70 |  |  | 70 |  | 70 |  |  | 70 |  | 70 |  |  | 70 | 70 | 70 | 0 | 0
|  | 1/2T | 70 |  |  | 70 |  |  | 70 |  |  | 70 |  | 70 |  |  | 70 |  | 70 |  |  | 70 | 70 | 70
|  | 4/5T | 70 |  |  | 70 |  |  | 70 |  |  | 70 |  | 70 |  |  | 70 |  | 70 |  |  | 70 | 70 | 70
80 |  | 1/5T | 80 |  |  | 80 |  |  | 80 |  |  | 80 |  | 80 |  |  | 80 |  | 80 |  |  | 80 | 80 | 80 | 0 | 0
|  | 1/2T | 80 |  |  | 80 |  |  | 80 |  |  | 80 |  | 80 |  |  | 80 |  | 80 |  |  | 80 | 80 | 80
|  | 4/5T | 80 |  |  | 80 |  |  | 80 |  |  | 80 |  | 80 |  |  | 80 |  | 80 |  |  | 80 | 80 | 80
90 |  | 1/5T | 90 |  |  | 90 |  |  | 90 |  |  | 90 |  | 90 |  |  | 90 |  | 90 |  |  | 90 | 90 | 90 | 0 | 0
|  | 1/2T | 90 |  |  | 90 |  |  | 90 |  |  | 90 |  | 90 |  |  | 90 |  | 90 |  |  | 90 | 90 | 90
|  | 4/5T | 90 |  |  | 90 |  |  | 90 |  |  | 90 |  | 90 |  |  | 90 |  | 90 |  |  | 90 | 90 | 90
100 |  | 1/5T | 100 |  |  | 100 |  |  | 100 |  |  | 100 |  | 100 |  |  | 100 |  | 100 |  |  | 100 | 100 | 100 | 0 | 0
|  | 1/2T | 100 |  |  | 100 |  |  | 100 |  |  | 100 |  | 100 |  |  | 100 |  | 100 |  |  | 100 | 100 | 100
|  | 4/5T | 100 |  |  | 100 |  |  | 100 |  |  | 100 |  | 100 |  |  | 100 |  | 100 |  |  | 100 | 100 | 100
150 |  | 1/5T | 150 |  |  | 150 |  |  | 150 |  |  | 150 |  | 150 |  |  | 150 |  | 150 |  |  | 150 | 150 | 150 | 0 | 0
|  | 1/2T | 150 |  |  | 150 |  |  | 150 |  |  | 150 |  | 150 |  |  | 150 |  | 150 |  |  | 150 | 150 | 150
|  | 4/5T | 150 |  |  | 150 |  |  | 150 |  |  | 150 |  | 150 |  |  | 150 |  | 150 |  |  | 150 | 150 | 150
200 |  | 1/5T | 200 |  |  | 200 |  |  | 200 |  |  | 200 |  | 200 |  |  | 200 |  | 200 |  |  | 200 | 200 | 200 | 0 | 0
|  | 1/2T | 200 |  |  | 200 |  |  | 200 |  |  | 200 |  | 200 |  |  | 200 |  | 200 |  |  | 200 | 200 | 200
|  | 4/5T | 200 |  |  | 200 |  |  | 200 |  |  | 200 |  | 200 |  |  | 200 |  | 200 |  |  | 200 | 200 | 200
250 |  | 1/5T | 250 |  |  | 250 |  |  | 250 |  |  | 250 |  | 250 |  |  | 250 |  | 250 |  |  | 250 | 250 | 250 | 0 | 0
|  | 1/2T | 250 |  |  | 250 |  |  | 250 |  |  | 250 |  | 250 |  |  | 250 |  | 250 |  |  | 250 | 250 | 250
|  | 4/5T | 250 |  |  | 250 |  |  | 250 |  |  | 250 |  | 250 |  |  | 250 |  | 250 |  |  | 250 | 250 | 250
300 |  | 1/5T | 300 |  |  | 300 |  |  | 300 |  |  | 300 |  | 300 |  |  | 300 |  | 300 |  |  | 300 | 300 | 300 | 0 | 0
|  | 1/2T | 300 |  |  | 300 |  |  | 300 |  |  | 300 |  | 300 |  |  | 300 |  | 300 |  |  | 300 | 300 | 300
|  | 4/5T | 300 |  |  | 300 |  |  | 300 |  |  | 300 |  | 300 |  |  | 300 |  | 300 |  |  | 300 | 300 | 300
Calibrated By |  |  | Ms. Arunkamon Raramanus
|  |  | 11 |  | Ms. Arunkamon Raramanus

## Data Record (2)
SP METROLOGY SYSTEM THAILAND | [9 empty] | Certificate No. |  |  |  | SPR15120012-1 | [11 empty] | Page | 1 | of | 1
[10 empty] | Receive Date |  |  |  | 2015-01-01 | [5 empty] | Calibration Date |  |  | 2015-01-15
Equipment Name | [9 empty] | Temp & Humiduty |  |  |  |  | 20 | oC | 50 | %RH
Plain Plug Gauge/Pin Gauge/3-Wire | [9 empty] | Location |  |  |  | In Lab | [6 empty] | On Site
Customer Name |  |  |  | SP METROLOGY SYSTEM (THAILAND) CO.,LTD.
Equipment Name |  |  |  |  | Plain Plug Gauge | [7 empty] | Manufacturer |  |  |  | N/A
Model | N/A | [6 empty] | Serial No. |  |  | 123 |  |  |  |  | ID No |  | 456
Range |  |  | to |  |  | mm
Overall Inspection | [6 empty] | Good |  |  |  | Not Good
Referance Standard | [12 empty] | Due Date
Nominal |  | Position | Measured Value | [19 empty] | Average |  | Repeatability | Error
Value |  |  | X-Axis ( mm ) | [10 empty] | Y-Axis ( mm )
( mm ) |  |  | 1 |  |  | 2 |  |  | 3 |  |  | 4 |  | 1 |  |  | 2 |  | 3 |  |  | 4 | X-AXIS | Y-AXIS
2.5 |  | 1/5T | 2.5 |  |  | 2.5 |  |  | 2.5 |  |  | 2.5 |  | 2.5 |  |  | 2.5 |  | 2.5 |  |  | 2.5 | 2.5 | 2.5 | 0 | 0
|  | 1/2T | 2.5 |  |  | 2.5 |  |  | 2.5 |  |  | 2.5 |  | 2.5 |  |  | 2.5 |  | 2.5 |  |  | 2.5 | 2.5 | 2.5
|  | 4/5T | 2.5 |  |  | 2.5 |  |  | 2.5 |  |  | 2.5 |  | 2.5 |  |  | 2.5 |  | 2.5 |  |  | 2.5 | 2.5 | 2.5
5.1 |  | 1/5T | 5.1 |  |  | 5.1 |  |  | 5.1 |  |  | 5.1 |  | 5.1 |  |  | 5.1 |  | 5.1 |  |  | 5.1 | 5.1 | 5.1 | 0 | 0
|  | 1/2T | 5.1 |  |  | 5.1 |  |  | 5.1 |  |  | 5.1 |  | 5.1 |  |  | 5.1 |  | 5.1 |  |  | 5.1 | 5.1 | 5.1
|  | 4/5T | 5.1 |  |  | 5.1 |  |  | 5.1 |  |  | 5.1 |  | 5.1 |  |  | 5.1 |  | 5.1 |  |  | 5.1 | 5.1 | 5.1
7.7 |  | 1/5T | 7.7 |  |  | 7.7 |  |  | 7.7 |  |  | 7.7 |  | 7.7 |  |  | 7.7 |  | 7.7 |  |  | 7.7 | 7.7 | 7.7 | 0 | 0
|  | 1/2T | 7.7 |  |  | 7.7 |  |  | 7.7 |  |  | 7.7 |  | 7.7 |  |  | 7.7 |  | 7.7 |  |  | 7.7 | 7.7 | 7.7
|  | 4/5T | 7.7 |  |  | 7.7 |  |  | 7.7 |  |  | 7.7 |  | 7.7 |  |  | 7.7 |  | 7.7 |  |  | 7.7 | 7.7 | 7.7
10 |  | 1/5T | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 10 |  |  | 10 |  | 10 |  |  | 10 | 10 | 10 | 0 | 0
|  | 1/2T | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 10 |  |  | 10 |  | 10 |  |  | 10 | 10 | 10
|  | 4/5T | 10 |  |  | 10 |  |  | 10 |  |  | 10 |  | 10 |  |  | 10 |  | 10 |  |  | 10 | 10 | 10
12.9 |  | 1/5T | 12.9 |  |  | 12.9 |  |  | 12.9 |  |  | 12.9 |  | 12.9 |  |  | 12.9 |  | 12.9 |  |  | 12.9 | 12.9 | 12.9 | 0 | 0
|  | 1/2T | 12.9 |  |  | 12.9 |  |  | 12.9 |  |  | 12.9 |  | 12.9 |  |  | 12.9 |  | 12.9 |  |  | 12.9 | 12.9 | 12.9
|  | 4/5T | 12.9 |  |  | 12.9 |  |  | 12.9 |  |  | 12.9 |  | 12.9 |  |  | 12.9 |  | 12.9 |  |  | 12.9 | 12.9 | 12.9
15 |  | 1/5T | 15 |  |  | 15 |  |  | 15 |  |  | 15 |  | 15 |  |  | 15 |  | 15 |  |  | 15 | 15 | 15 | 0 | 0
|  | 1/2T | 15 |  |  | 15 |  |  | 15 |  |  | 15 |  | 15 |  |  | 15 |  | 15 |  |  | 15 | 15 | 15
|  | 4/5T | 15 |  |  | 15 |  |  | 15 |  |  | 15 |  | 15 |  |  | 15 |  | 15 |  |  | 15 | 15 | 15
20.2 |  | 1/5T | 20.2 |  |  | 20.2 |  |  | 20.2 |  |  | 20.2 |  | 20.2 |  |  | 20.2 |  | 20.2 |  |  | 20.2 | 20.2 | 20.2 | 0 | 0
|  | 1/2T | 20.2 |  |  | 20.2 |  |  | 20.2 |  |  | 20.2 |  | 20.2 |  |  | 20.2 |  | 20.2 |  |  | 20.2 | 20.2 | 20.2
|  | 4/5T | 20.2 |  |  | 20.2 |  |  | 20.2 |  |  | 20.2 |  | 20.2 |  |  | 20.2 |  | 20.2 |  |  | 20.2 | 20.2 | 20.2
22.8 |  | 1/5T | 22.8 |  |  | 22.8 |  |  | 22.8 |  |  | 22.8 |  | 22.8 |  |  | 22.8 |  | 22.8 |  |  | 22.8 | 22.8 | 22.8 | 0 | 0
|  | 1/2T | 22.8 |  |  | 22.8 |  |  | 22.8 |  |  | 22.8 |  | 22.8 |  |  | 22.8 |  | 22.8 |  |  | 22.8 | 22.8 | 22.8
|  | 4/5T | 22.8 |  |  | 22.8 |  |  | 22.8 |  |  | 22.8 |  | 22.8 |  |  | 22.8 |  | 22.8 |  |  | 22.8 | 22.8 | 22.8
25 |  | 1/5T | 25 |  |  | 25 |  |  | 25 |  |  | 25 |  | 25 |  |  | 25 |  | 25 |  |  | 25 | 25 | 25 | 0 | 0
|  | 1/2T | 25 |  |  | 25 |  |  | 25 |  |  | 25 |  | 25 |  |  | 25 |  | 25 |  |  | 25 | 25 | 25
|  | 4/5T | 25 |  |  | 25 |  |  | 25 |  |  | 25 |  | 25 |  |  | 25 |  | 25 |  |  | 25 | 25 | 25
30 |  | 1/5T | 30 |  |  | 30 |  |  | 30 |  |  | 30 |  | 30 |  |  | 30 |  | 30 |  |  | 30 | 30 | 30 | 0 | 0
|  | 1/2T | 30 |  |  | 30 |  |  | 30 |  |  | 30 |  | 30 |  |  | 30 |  | 30 |  |  | 30 | 30 | 30
|  | 4/5T | 30 |  |  | 30 |  |  | 30 |  |  | 30 |  | 30 |  |  | 30 |  | 30 |  |  | 30 | 30 | 30
40 |  | 1/5T | 40 |  |  | 40 |  |  | 40 |  |  | 40 |  | 40 |  |  | 40 |  | 40 |  |  | 40 | 40 | 40 | 0 | 0
|  | 1/2T | 40 |  |  | 40 |  |  | 40 |  |  | 40 |  | 40 |  |  | 40 |  | 40 |  |  | 40 | 40 | 40
|  | 4/5T | 40 |  |  | 40 |  |  | 40 |  |  | 40 |  | 40 |  |  | 40 |  | 40 |  |  | 40 | 40 | 40
50 |  | 1/5T | 50 |  |  | 50 |  |  | 50 |  |  | 50 |  | 50 |  |  | 50 |  | 50 |  |  | 50 | 50 | 50 | 0 | 0
|  | 1/2T | 50 |  |  | 50 |  |  | 50 |  |  | 50 |  | 50 |  |  | 50 |  | 50 |  |  | 50 | 50 | 50
|  | 4/5T | 50 |  |  | 50 |  |  | 50 |  |  | 50 |  | 50 |  |  | 50 |  | 50 |  |  | 50 | 50 | 50
60 |  | 1/5T | 60 |  |  | 60 |  |  | 60 |  |  | 60 |  | 60 |  |  | 60 |  | 60 |  |  | 60 | 60 | 60 | 0 | 0
|  | 1/2T | 60 |  |  | 60 |  |  | 60 |  |  | 60 |  | 60 |  |  | 60 |  | 60 |  |  | 60 | 60 | 60
|  | 4/5T | 60 |  |  | 60 |  |  | 60 |  |  | 60 |  | 60 |  |  | 60 |  | 60 |  |  | 60 | 60 | 60
70 |  | 1/5T | 70 |  |  | 70 |  |  | 70 |  |  | 70 |  | 70 |  |  | 70 |  | 70 |  |  | 70 | 70 | 70 | 0 | 0
|  | 1/2T | 70 |  |  | 70 |  |  | 70 |  |  | 70 |  | 70 |  |  | 70 |  | 70 |  |  | 70 | 70 | 70
|  | 4/5T | 70 |  |  | 70 |  |  | 70 |  |  | 70 |  | 70 |  |  | 70 |  | 70 |  |  | 70 | 70 | 70
80 |  | 1/5T | 80 |  |  | 80 |  |  | 80 |  |  | 80 |  | 80 |  |  | 80 |  | 80 |  |  | 80 | 80 | 80 | 0 | 0
|  | 1/2T | 80 |  |  | 80 |  |  | 80 |  |  | 80 |  | 80 |  |  | 80 |  | 80 |  |  | 80 | 80 | 80
|  | 4/5T | 80 |  |  | 80 |  |  | 80 |  |  | 80 |  | 80 |  |  | 80 |  | 80 |  |  | 80 | 80 | 80
90 |  | 1/5T | 90 |  |  | 90 |  |  | 90 |  |  | 90 |  | 90 |  |  | 90 |  | 90 |  |  | 90 | 90 | 90 | 0 | 0
|  | 1/2T | 90 |  |  | 90 |  |  | 90 |  |  | 90 |  | 90 |  |  | 90 |  | 90 |  |  | 90 | 90 | 90
|  | 4/5T | 90 |  |  | 90 |  |  | 90 |  |  | 90 |  | 90 |  |  | 90 |  | 90 |  |  | 90 | 90 | 90
100 |  | 1/5T | 100 |  |  | 100 |  |  | 100 |  |  | 100 |  | 100 |  |  | 100 |  | 100 |  |  | 100 | 100 | 100 | 0 | 0
|  | 1/2T | 100 |  |  | 100 |  |  | 100 |  |  | 100 |  | 100 |  |  | 100 |  | 100 |  |  | 100 | 100 | 100
|  | 4/5T | 100 |  |  | 100 |  |  | 100 |  |  | 100 |  | 100 |  |  | 100 |  | 100 |  |  | 100 | 100 | 100
150 |  | 1/5T | 150 |  |  | 150 |  |  | 150 |  |  | 150 |  | 150 |  |  | 150 |  | 150 |  |  | 150 | 150 | 150 | 0 | 0
|  | 1/2T | 150 |  |  | 150 |  |  | 150 |  |  | 150 |  | 150 |  |  | 150 |  | 150 |  |  | 150 | 150 | 150
|  | 4/5T | 150 |  |  | 150 |  |  | 150 |  |  | 150 |  | 150 |  |  | 150 |  | 150 |  |  | 150 | 150 | 150
200 |  | 1/5T | 200 |  |  | 200 |  |  | 200 |  |  | 200 |  | 200 |  |  | 200 |  | 200 |  |  | 200 | 200 | 200 | 0 | 0
|  | 1/2T | 200 |  |  | 200 |  |  | 200 |  |  | 200 |  | 200 |  |  | 200 |  | 200 |  |  | 200 | 200 | 200
|  | 4/5T | 200 |  |  | 200 |  |  | 200 |  |  | 200 |  | 200 |  |  | 200 |  | 200 |  |  | 200 | 200 | 200
250 |  | 1/5T | 250 |  |  | 250 |  |  | 250 |  |  | 250 |  | 250 |  |  | 250 |  | 250 |  |  | 250 | 250 | 250 | 0 | 0
|  | 1/2T | 250 |  |  | 250 |  |  | 250 |  |  | 250 |  | 250 |  |  | 250 |  | 250 |  |  | 250 | 250 | 250
|  | 4/5T | 250 |  |  | 250 |  |  | 250 |  |  | 250 |  | 250 |  |  | 250 |  | 250 |  |  | 250 | 250 | 250
300 |  | 1/5T | 300 |  |  | 300 |  |  | 300 |  |  | 300 |  | 300 |  |  | 300 |  | 300 |  |  | 300 | 300 | 300 | 0 | 0
|  | 1/2T | 300 |  |  | 300 |  |  | 300 |  |  | 300 |  | 300 |  |  | 300 |  | 300 |  |  | 300 | 300 | 300
|  | 4/5T | 300 |  |  | 300 |  |  | 300 |  |  | 300 |  | 300 |  |  | 300 |  | 300 |  |  | 300 | 300 | 300
Calibrated By |  |  | Ms. Arunkamon Raramanus
|  |  | 11 |  | Ms. Arunkamon Raramanus

## Certificate
Certificate of Calibration
| Certificate Number |  |  |  | : | 0 | [7 empty] | Page : 1 of 3
| Customer |  |  |  | :
| Equipment Name |  |  |  | : | 0
| Manufacturer |  |  |  | : | N/A
| Model |  |  |  | : | N/A
| Serial Number |  |  |  | : | 123
| ID. Number |  |  |  | : | 456
Environmental Conditions
| Ambient Temperature |  |  |  | : | 20 °C ± 1 °C | Received Date |  |  |  |  | : | 0
| Relative Humidity |  |  |  | : | 50% ± 15 % | Calibration Date |  |  |  |  | : | 0
| Location of Calibration |  |  |  | : | In-Lab | Recommended Due Date |  |  |  |  | : | 1900-12-30
| Calibration Procedure |  |  |  | : | SP-CPT-04-19
Method of Calibration
This certifies that the above instrument was calibrated in compliance with the calibration system
requirement of ISO/IEC 17025:2005 in accordance with reference procedure. Standards used to perform
this calibration are certified by to NIST or equivalent, National metrology institute, Natural physical constants,
consensus standards. The result reported herein apply only to the calibration of the item described above.
All calibrations are performed within manufacture's specifications.The calibration certificate shall not be
reproduced except in full,without written approval of SP Metrology System (Thailand).
| Date of Issue |  | : | 1899-12-31 |  |  | Approved by :
| Calibrated by |  | : | Ms. Arunkamon Raramanus |  |  |  | 3 | ( Mr. Natthaphol Boonmee )
Authorized Signatory
| 11 | Ms. Arunkamon Raramanus | [7 empty] | 1 | Mr.Sombut Srikampa
[10 empty] | 3 | Mr. Natthaphol Boonmee
Note on Q36: ระบุ ID ประจำตัวพนักงาน

## Report
Certificate Report
| Certificate Number |  | : | 0 |  |  |  | Page : 2 of 3
Reference Standards
| Equipment Name |  |  | Model | Serial No. | Certificate No. | Due. Date
| Universal Length Measuring |  |  | LMI 01-680 PC | 050021 | 1000959-1 | 2017-04-28
Traceability
This certification is traceable to the International System of Unit maintained at :
-The National Institute of Metrology ( Thailand ), NIMT.

## Result
Result of Calibration
| Certificate No. : |  | 0 | [6 empty] | Page : 3 of 3
[10 empty] | Unit : | mm
| Nominal Value | Measured Value | [6 empty] | Error | Uncertainty ± (µm)
|  | x-axis |  |  |  | y-axis
|  | 1/5T |  | 1/2T | 4/5T | 1/5T | 1/2T | 4/5T
| 2.5 | 2.5 |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 0 | 0.24536
| 5.1 | 2.5 |  | 2.5 | 5.1 | 2.5 | 2.5 | 5.1 | 1.7333 | 0.25236
| 7.7 | 2.5 |  | 5.1 | 5.1 | 2.5 | 5.1 | 5.1 | 3.4667 | 0.26373
| 10 | 5.1 |  | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 4.9 | 0.27701
| 12.9 | 5.1 |  | 5.1 | 7.7 | 5.1 | 5.1 | 7.7 | 6.9333 | 0.31651
| 15 | 5.1 |  | 7.7 | 7.7 | 5.1 | 7.7 | 7.7 | 8.1667 | 0.33243
| 20.2 | 7.7 |  | 7.7 | 7.7 | 7.7 | 7.7 | 7.7 | 12.5 | 0.41165
| 22.8 | 7.7 |  | 7.7 | 10 | 7.7 | 7.7 | 10 | 14.3333 | 0.43493
| 25 | 7.7 |  | 10 | 10 | 7.7 | 10 | 10 | 15.7667 | 0.45575
| 30 | 10 |  | 10 | 10 | 10 | 10 | 10 | 20 | 0.50616
| 40 | 10 |  | 10 | 12.9 | 10 | 10 | 12.9 | 29.0333 | 0.61614
| 50 | 10 |  | 12.9 | 12.9 | 10 | 12.9 | 12.9 | 38.0667 | 0.73371
| 60 | 12.9 |  | 12.9 | 12.9 | 12.9 | 12.9 | 12.9 | 47.1 | 0.87843
| 70 | 12.9 |  | 12.9 | 15 | 12.9 | 12.9 | 15 | 56.4 | 1.0004
| 80 | 12.9 |  | 15 | 15 | 12.9 | 15 | 15 | 65.7 | 1.154
Measurement Uncertainty
The reported uncertainty of measurement is the expanded uncertainty obtained by multiplying the
standard uncertainty with the coverage factor k = 2.00, providing a level of confidence approximately 95%.
- End of Certificate -
T
4/5T
1/2T
1/5T
Y-axis
X-axis
Dia Ø ( Mark )

## Result (2)
Result of Calibration
| Certificate No. : |  | 0 | [6 empty] | Page : 3 of 3
[10 empty] | Unit : | mm
| Nominal Value | Measured Value | [6 empty] | Error | Uncertainty ± (µm)
|  | x-axis |  |  |  | y-axis
|  | 1/5T |  | 1/2T | 4/5T | 1/5T | 1/2T | 4/5T
| 2.5 | 2.5 |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 0 | 0.24536
| 5.1 | 2.5 |  | 2.5 | 5.1 | 2.5 | 2.5 | 5.1 | 1.7333 | 0.25236
| 7.7 | 2.5 |  | 5.1 | 5.1 | 2.5 | 5.1 | 5.1 | 3.4667 | 0.26373
| 10 | 5.1 |  | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 4.9 | 0.27701
| 12.9 | 5.1 |  | 5.1 | 7.7 | 5.1 | 5.1 | 7.7 | 6.9333 | 0.31651
| 15 | 5.1 |  | 7.7 | 7.7 | 5.1 | 7.7 | 7.7 | 8.1667 | 0.33243
| 20.2 | 7.7 |  | 7.7 | 7.7 | 7.7 | 7.7 | 7.7 | 12.5 | 0.41165
| 22.8 | 7.7 |  | 7.7 | 10 | 7.7 | 7.7 | 10 | 14.3333 | 0.43493
| 25 | 7.7 |  | 10 | 10 | 7.7 | 10 | 10 | 15.7667 | 0.45575
| 30 | 10 |  | 10 | 10 | 10 | 10 | 10 | 20 | 0.50616
| 40 | 10 |  | 10 | 12.9 | 10 | 10 | 12.9 | 29.0333 | 0.61614
| 50 | 10 |  | 12.9 | 12.9 | 10 | 12.9 | 12.9 | 38.0667 | 0.73371
| 60 | 12.9 |  | 12.9 | 12.9 | 12.9 | 12.9 | 12.9 | 47.1 | 0.87843
| 70 | 12.9 |  | 12.9 | 15 | 12.9 | 12.9 | 15 | 56.4 | 1.0004
| 80 | 12.9 |  | 15 | 15 | 12.9 | 15 | 15 | 65.7 | 1.154
Measurement Uncertainty
The reported uncertainty of measurement is the expanded uncertainty obtained by multiplying the
standard uncertainty with the coverage factor k = 2.00, providing a level of confidence approximately 95%.
- End of Certificate -
T
4/5T
1/2T
1/5T
Y-axis
X-axis
Dia Ø ( Mark )

## Result (3)
Result of Calibration
| Certificate No. : |  | 0 | [6 empty] | Page : 3 of 3
[10 empty] | Unit : | mm
| Nominal Value | Measured Value | [6 empty] | Error | Uncertainty ± (µm)
|  | x-axis |  |  |  | y-axis
|  | 1/5T |  | 1/2T | 4/5T | 1/5T | 1/2T | 4/5T
| 2.5 | 2.5 |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 0 | 0.24536
| 5.1 | 2.5 |  | 2.5 | 5.1 | 2.5 | 2.5 | 5.1 | 1.7333 | 0.25236
| 7.7 | 2.5 |  | 5.1 | 5.1 | 2.5 | 5.1 | 5.1 | 3.4667 | 0.26373
| 10 | 5.1 |  | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 4.9 | 0.27701
| 12.9 | 5.1 |  | 5.1 | 7.7 | 5.1 | 5.1 | 7.7 | 6.9333 | 0.31651
| 15 | 5.1 |  | 7.7 | 7.7 | 5.1 | 7.7 | 7.7 | 8.1667 | 0.33243
| 20.2 | 7.7 |  | 7.7 | 7.7 | 7.7 | 7.7 | 7.7 | 12.5 | 0.41165
| 22.8 | 7.7 |  | 7.7 | 10 | 7.7 | 7.7 | 10 | 14.3333 | 0.43493
| 25 | 7.7 |  | 10 | 10 | 7.7 | 10 | 10 | 15.7667 | 0.45575
| 30 | 10 |  | 10 | 10 | 10 | 10 | 10 | 20 | 0.50616
| 40 | 10 |  | 10 | 12.9 | 10 | 10 | 12.9 | 29.0333 | 0.61614
| 50 | 10 |  | 12.9 | 12.9 | 10 | 12.9 | 12.9 | 38.0667 | 0.73371
| 60 | 12.9 |  | 12.9 | 12.9 | 12.9 | 12.9 | 12.9 | 47.1 | 0.87843
| 70 | 12.9 |  | 12.9 | 15 | 12.9 | 12.9 | 15 | 56.4 | 1.0004
| 80 | 12.9 |  | 15 | 15 | 12.9 | 15 | 15 | 65.7 | 1.154
Measurement Uncertainty
The reported uncertainty of measurement is the expanded uncertainty obtained by multiplying the
standard uncertainty with the coverage factor k = 2.00, providing a level of confidence approximately 95%.
- End of Certificate -
T
4/5T
1/2T
1/5T
Y-axis
X-axis
Dia Ø ( Mark )

## Uncertainty Budget
Uncertainty Budget of Plain Plug Gauge/Pin Gauge/3-Wire
Nominal Value | Uncertainty of ULM |  | Uncertainty of GB |  | Elastic Deformation |  | Temperature Effect |  | Resolution of ULM |  | Repeatability |  | Uc | Ui | Veff | K95 | U95%
(mm) | (mm) |  | (mm) |  | (mm) |  | (mm) |  | (mm) |  | (mm) | [5 empty] | (µm)
Value | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Value | Value | Value | Value
2.5 | 0.00021 | 0.00012124 | 0 | 0 | 1.417e-05 | 8.1808e-06 | 2.875e-05 | 1.6599e-05 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00012268 | 0 | ∞ | 2 | 0.24536
5.1 | 0.00021 | 0.00012124 | 0 | 0 | 1.417e-05 | 8.1808e-06 | 5.865e-05 | 3.3862e-05 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00012618 | 0 | ∞ | 2 | 0.25236
7.7 | 0.00021 | 0.00012124 | 0 | 0 | 1.417e-05 | 8.1808e-06 | 8.855e-05 | 5.1124e-05 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00013187 | 0 | ∞ | 2 | 0.26373
10 | 0.00021 | 0.00012124 | 0 | 0 | 1.417e-05 | 8.1808e-06 | 0.000115 | 6.6395e-05 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.0001385 | 0 | ∞ | 2 | 0.27701
12.9 | 0.00023 | 0.00013279 | 0 | 0 | 1.417e-05 | 8.1808e-06 | 0.00014835 | 8.565e-05 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00015825 | 0 | ∞ | 2 | 0.31651
15 | 0.00023 | 0.00013279 | 0 | 0 | 1.417e-05 | 8.1808e-06 | 0.0001725 | 9.9593e-05 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00016621 | 0 | ∞ | 2 | 0.33243
20.2 | 0.00027 | 0.00015588 | 0 | 0 | 1.417e-05 | 8.1808e-06 | 0.0002323 | 0.00013412 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00020582 | 0 | ∞ | 2 | 0.41165
22.8 | 0.00027 | 0.00015588 | 0 | 0 | 1.417e-05 | 8.1808e-06 | 0.0002622 | 0.00015138 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00021747 | 0 | ∞ | 2 | 0.43493
25 | 0.00027 | 0.00015588 | 0 | 0 | 1.417e-05 | 8.1808e-06 | 0.0002875 | 0.00016599 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00022788 | 0 | ∞ | 2 | 0.45575
30 | 0.00027 | 0.00015588 | 0 | 0 | 1.417e-05 | 8.1808e-06 | 0.000345 | 0.00019919 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00025308 | 0 | ∞ | 2 | 0.50616
40 | 0.00027 | 0.00015588 | 0 | 0 | 1.417e-05 | 8.1808e-06 | 0.00046 | 0.00026558 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00030807 | 0 | ∞ | 2 | 0.61614
50 | 0.00027 | 0.00015588 | 0 | 0 | 1.417e-05 | 8.1808e-06 | 0.000575 | 0.00033198 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00036686 | 0 | ∞ | 2 | 0.73371
60 | 0.00032 | 0.00018475 | 0 | 0 | 1.417e-05 | 8.1808e-06 | 0.00069 | 0.00039837 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00043921 | 0 | ∞ | 2 | 0.87843
70 | 0.00032 | 0.00018475 | 0 | 0 | 1.417e-05 | 8.1808e-06 | 0.000805 | 0.00046477 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00050022 | 0 | ∞ | 2 | 1.0004
80 | 0.00039 | 0.00022517 | 0 | 0 | 1.417e-05 | 8.1808e-06 | 0.00092 | 0.00053116 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00057698 | 0 | ∞ | 2 | 1.154
90 | 0.00039 | 0.00022517 | 0 | 0 | 1.417e-05 | 8.1808e-06 | 0.001035 | 0.00059756 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00063863 | 0 | ∞ | 2 | 1.2773
100 | 0.00039 | 0.00022517 | 0 | 0 | 1.417e-05 | 8.1808e-06 | 0.00115 | 0.00066395 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.00070115 | 0 | ∞ | 2 | 1.4023
150 | 0.00039 | 0.00022517 | 0.00012 | 6e-05 | 1.417e-05 | 8.1808e-06 | 0.001725 | 0.00099593 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.0010229 | 0 | ∞ | 2 | 2.0457
200 | 0.00039 | 0.00022517 | 0.00012 | 6e-05 | 1.417e-05 | 8.1808e-06 | 0.0023 | 0.0013279 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.0013482 | 0 | ∞ | 2 | 2.6964
250 | 0.00039 | 0.00022517 | 0.00012 | 6e-05 | 1.417e-05 | 8.1808e-06 | 0.002875 | 0.0016599 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.0016762 | 0 | ∞ | 2 | 3.3524
300 | 0.00039 | 0.00022517 | 0.00012 | 6e-05 | 1.417e-05 | 8.1808e-06 | 0.00345 | 0.0019919 | 5e-06 | 2.8868e-06 | 0 | 0 | 0.0020055 | 0 | ∞ | 2 | 4.0109
Elastic Deformation
[5 empty] | l1 | 1.1459e-12
[5 empty] | l2 | 1.1459e-12
[5 empty] | d | 2.8339e-08 |  | m | A2 | 2.8339e-05 | mm
Note on D4: Certificate of Calubration ULM
Note on F4: Certificate of Calubration Gauge Block
Note on J4: (Normal Value * 11.5*10^-6 * 1)
Note on E6: Divisor = 2
Note on G6: Divisor = √3
Note on I6: Divisor = √3
Note on K6: Divisor = √3
Note on M6: Divisor = √3
Note on O6: Divisor = 1

## Cert of STD
SP-SD-001 | [5 empty] | Certificate of Calibration (Gauge Block)
Due Date |  |  | 2016-04-28 |  |  | SP-SD-010
1 | mm | 0.21 | µm | 0.00021 | mm | Due Date |  | 2016-11-27
1.01 | mm | 0.21 | µm | 0.00021 | mm | 1.005 | 0.06 | µm | 6e-05 | mm
1.05 | mm | 0.21 | µm | 0.00021 | mm | 1.01 | 0.06 | µm | 6e-05 | mm
1.1 | mm | 0.21 | µm | 0.00021 | mm | 1.02 | 0.06 | µm | 6e-05 | mm
2 | mm | 0.21 | µm | 0.00021 | mm | 1.03 | 0.06 | µm | 6e-05 | mm
5 | mm | 0.21 | µm | 0.00021 | mm | 1.04 | 0.06 | µm | 6e-05 | mm
10 | mm | 0.21 | µm | 0.00021 | mm | 1.05 | 0.06 | µm | 6e-05 | mm
20 | mm | 0.23 | µm | 0.00023 | mm | 1.06 | 0.06 | µm | 6e-05 | mm
30 | mm | 0.27 | µm | 0.00027 | mm | 1.07 | 0.06 | µm | 6e-05 | mm
40 | mm | 0.27 | µm | 0.00027 | mm | 1.08 | 0.06 | µm | 6e-05 | mm
50 | mm | 0.27 | µm | 0.00027 | mm | 1.09 | 0.06 | µm | 6e-05 | mm
60 | mm | 0.32 | µm | 0.00032 | mm | 1.1 | 0.06 | µm | 6e-05 | mm
70 | mm | 0.32 | µm | 0.00032 | mm | 1.2 | 0.06 | µm | 6e-05 | mm
80 | mm | 0.39 | µm | 0.00039 | mm | 1.3 | 0.06 | µm | 6e-05 | mm
90 | mm | 0.39 | µm | 0.00039 | mm | 1.4 | 0.06 | µm | 6e-05 | mm
100 | mm | 0.39 | µm | 0.00039 | mm | 1.5 | 0.06 | µm | 6e-05 | mm
[6 empty] | 1.6 | 0.06 | µm | 6e-05 | mm
[6 empty] | 1.7 | 0.06 | µm | 6e-05 | mm
[6 empty] | 1.8 | 0.06 | µm | 6e-05 | mm
[6 empty] | 1.9 | 0.06 | µm | 6e-05 | mm
[6 empty] | 1 | 0.06 | µm | 6e-05 | mm
[6 empty] | 2 | 0.06 | µm | 6e-05 | mm
[6 empty] | 3 | 0.06 | µm | 6e-05 | mm
[6 empty] | 4 | 0.06 | µm | 6e-05 | mm
[6 empty] | 5 | 0.06 | µm | 6e-05 | mm
[6 empty] | 6 | 0.06 | µm | 6e-05 | mm
[6 empty] | 7 | 0.06 | µm | 6e-05 | mm
[6 empty] | 8 | 0.06 | µm | 6e-05 | mm
[6 empty] | 9 | 0.06 | µm | 6e-05 | mm
[6 empty] | 10 | 0.06 | µm | 6e-05 | mm
[6 empty] | 11 | 0.07 | µm | 7e-05 | mm
[6 empty] | 12 | 0.07 | µm | 7e-05 | mm
[6 empty] | 13 | 0.07 | µm | 7e-05 | mm
[6 empty] | 14 | 0.07 | µm | 7e-05 | mm
[6 empty] | 15 | 0.07 | µm | 7e-05 | mm
[6 empty] | 16 | 0.07 | µm | 7e-05 | mm
[6 empty] | 17 | 0.07 | µm | 7e-05 | mm
[6 empty] | 18 | 0.07 | µm | 7e-05 | mm
[6 empty] | 19 | 0.07 | µm | 7e-05 | mm
[6 empty] | 20 | 0.07 | µm | 7e-05 | mm
[6 empty] | 21 | 0.07 | µm | 7e-05 | mm
[6 empty] | 22 | 0.07 | µm | 7e-05 | mm
[6 empty] | 23 | 0.07 | µm | 7e-05 | mm
[6 empty] | 24 | 0.07 | µm | 7e-05 | mm
[6 empty] | 25 | 0.07 | µm | 7e-05 | mm
[6 empty] | 50 | 0.09 | µm | 9e-05 | mm
[6 empty] | 75 | 0.1 | µm | 0.0001 | mm
[6 empty] | 100 | 0.12 | µm | 0.00012 | mm
Note on B3: Universal Length Measuring
Note on E4: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on I4: Grade 0
Note on B5: Normal Value (mm)
Note on D5: มาจากค่าความไม่แน่นอนของการวัด ULM
Note on F5: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน
Note on K5: บันทึกวันหมดอายุการใช้งานของSTD ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on J6: ค่าความไม่แน่นอนของการวัดจากใบรับรองผลการสอบเทียบ Gauge Block
Note on L6: แปลงค่าความไม่แน่ของการวัดให้เป็นหน่วยใช้งาน เดียวกัน