## Data
SP METROLOGY SYSTEM THAILAND | [8 empty] | Certificate No. : |  |  | SPR16010078 | [9 empty] | Page 1 of 1
[9 empty] | Receive Date : |  |  | 2016-01-11 |  |  |  | Calibration Date : |  |  |  |  | 2016-01-11
Equipment Name | [8 empty] | Temp & Humiduty : |  |  |  | 23 | oC | 50 |  | %RH
Torque Tool | [8 empty] | Location |  |  |  | In Lab | [6 empty] | On Site
Customer Name : |  |  |  | SP
Adress |  |  | : | 88/115
Equipment Name : |  |  |  | Torque Tool | [6 empty] | Manufacturer : |  |  | ISHI ISHI
Model : |  | T ISHI | [6 empty] | Serial No. : | abcdefg | [6 empty] | ID No : |  | TQ110
Range : |  | 0 |  | to | 200 |  | N.m |  | Resolution : |  | 0.1 |  | N.m
Overall Inspection | [5 empty] | Good |  |  | Not Good
Reference Standard |  |  |  |  | : | SP-SM-009 | [6 empty] | Due Date : | 2017-08-25
Reference Standard |  |  |  |  | : | SP-SM-010 | [6 empty] | Due Date : | 2017-08-25
Calibration Procedure |  |  |  |  | : | SP-CPM-04-03
Measurement Result : Clockwise Direction ( CW )
UUC |  | STD Reading | [11 empty] | Averge |  |  |  | Error |  |  |  | Repeatability
Setting |  | X1 |  |  |  | X2 |  |  | X3 |  | X4
40 | [13 empty] | #DIV/0! |  |  |  | #DIV/0! |  |  |  | #DIV/0!
80 | [13 empty] | #DIV/0! |  |  |  | #DIV/0! |  |  |  | #DIV/0!
120 | [13 empty] | #DIV/0! |  |  |  | #DIV/0! |  |  |  | #DIV/0!
160 | [13 empty] | #DIV/0! |  |  |  | #DIV/0! |  |  |  | #DIV/0!
200 | [13 empty] | #DIV/0! |  |  |  | #DIV/0! |  |  |  | #DIV/0!
Measurement Result : CounterClock Wise Direction ( CCW )
UUC |  | STD Reading | [11 empty] | Averge |  |  |  | Error |  |  |  | Repeatability
Setting |  | X1 |  |  |  | X2 |  |  | X3 |  | X4
40 | [13 empty] | #DIV/0! |  |  |  | #DIV/0! |  |  |  | #DIV/0!
80 | [13 empty] | #DIV/0! |  |  |  | #DIV/0! |  |  |  | #DIV/0!
120 | [13 empty] | #DIV/0! |  |  |  | #DIV/0! |  |  |  | #DIV/0!
160 | [13 empty] | #DIV/0! |  |  |  | #DIV/0! |  |  |  | #DIV/0!
200 | [13 empty] | #DIV/0! |  |  |  | #DIV/0! |  |  |  | #DIV/0!
Calibrated By : |  |  |  | Mr.Pakapon Nammontree
Mr.Nirut Loha
Mr.Pakapon Nammontree
Mr.Prayoon Topart
Mr.Santi Thonghlor
Mr.Werayut Jampol
Unit of torque and conversion value
STD Reading |  |  |  | Input Value |  |  |  | N·m | cN·m | kgf·m |  | kgf·cm |  | ozf·in |  |  | ozf·ft |  |  | lbf·in |  |  | lbf·ft
40 |  | N·m |  | 10 |  | N·m |  | 10 | 1000 | 1.0197 |  | 101.972 |  | 1416.12 |  |  | 118 |  |  | 88.5075 |  |  | 7.3756
#REF! |  | cN·m |  | 23 |  | cN·m |  | 0.23 | 23 | 0.02346 |  | 2.3453 |  | 32.5708 |  |  | 2.714 |  |  | 2.0357 |  |  | 0.16974
#REF! |  | kgf·m |  |  |  | kgf·m |  | 0 | 0 | 0 |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
#REF! |  | kgf·cm |  |  |  | kgf·cm |  | 0 | 0 | 0 |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
#REF! |  | ozf·in |  |  |  | ozf·in |  | 0 | 0 | 0 |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
#REF! |  | ozf·ft |  |  |  | ozf·ft |  | 0 | 0 | 0 |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
#REF! |  | lbf·in |  |  |  | lbf·in |  | 0 | 0 | 0 |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
#REF! |  | lbf·ft |  |  |  | lbf·ft |  | 0 | 0 | 0 |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0

## Certificate
Certificate of Calibration
| Certificate Number |  |  | : | SPR16010078 |  |  |  |  | Page : 1 of 3
| Customer |  |  | : | SP
88/115
| Equipment Name |  |  | : | Torque Tool
| Manufacturer |  |  | : | ISHI ISHI
| Model |  |  | : | T ISHI
| Serial Number |  |  | : | abcdefg
| ID. Number |  |  | : | TQ110
Environmental Conditions
| Ambient Temperature |  |  |  | : | 23 °C ± 2 °C |  | Received Date |  | : | 2016-01-11
| Relative Humidity |  |  |  | : | 50% ± 15 % |  | Calibration Date |  | : | 2016-01-11
| Location of Calibration |  |  |  | : | In-Lab |  | Recommended Due Date |  | : | 2017-01-10
| Calibration Procedure |  |  |  | : | SP-CPM-04-03 |  | Date of Issue |  | : | 2016-01-12
Method of Calibration
This certifies that the above instrument was calibrated in compliance with the calibration system
requirement of ISO/IEC 17025:2005 in accordance with reference procedure. Standards used to perform
this calibration are certified by to NIST or equivalent, National metrology institute, Natural physical constants,
consensus standards. The result reported herein apply only to the calibration of the item described above.
All calibrations are performed within manufacture's specifications.The calibration certificate shall not be
reproduced except in full,without written approval of SP Metrology System (Thailand).
| Calibrated by | : | Mr.Pakapon Nammontree |  |  |  | Approved by :
|  |  | Calibration Officer |  |  |  | 3 |  | (Mr. Santi Hankitudomsuk)
Authorized Signatory
Note on Q38: ระบุ ID ประจำตัวพนักงาน

## Report
Certificate Report
| Certificate Number |  | : | SPR16010078 |  |  |  | Page : 2 of 3
Reference Standards
| Equipment Name |  |  | Model | Serial No. | Certificate No. | Due. Date
| Static Torque Transducer |  |  | XTTS100 | 12102019 | MTL 152175-2 | 25 Aug 2017
| Static Torque Transducer |  |  | XTTS1500 | 12101020 | MTL 152175-3 | 25 Aug 2017
Traceability
This certification is traceable to the International System of Unit maintained at :
-The National Institute of Metrology ( Thailand ), NIMT.
-The Physikalisch-Technische Bundesanstalt ( Germany ), PTB.
-The National Physical Laboratory ( UK ), NPL.

## Result
Result of Calibration
| Certificate No. : |  | SPR16010078 |  |  |  |  | Page : 3 of 3
| Measurement Result : Clockwise Direction ( CW ) | [5 empty] | Unit : | N.m
|  | UUC Setting |  | Standard Reading | Error | Uncertainty ( ± )
|  | 40 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | 80 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | 120 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | 160 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | 200 |  | #DIV/0! | #DIV/0! | #DIV/0!
| Measurement Result : CounterClock Wise Direction ( CCW ) | [5 empty] | Unit : | N.m
|  | UUC Setting |  | Standard Reading | Error | Uncertainty ( ± )
|  | 40 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | 80 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | 120 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | 160 |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | 200 |  | #DIV/0! | #DIV/0! | #DIV/0!
Measurement Uncertainty
The reported uncertainty of measurement is the expanded uncertainty obtained by multiplying the
standard uncertainty with the coverage factor k = 2.00, providing a level of confidence approximately 95%.
- End of Certificate -

## Uncertainty Budget
Uncertainty Budget of Torque Tool
Clockwise Direction ( CW )
Nominal Value | Repeatability |  | Uncertainty of STD |  | Resolution of STD |  | Resolution of UUc |  | Uc | Ui | Veff | K95 | U95%
N.m | N.m |  | N.m |  | N.m |  | N.m | [5 empty] | N.m
Value | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Value | Value | Value | Value
40 | #DIV/0! | #DIV/0! | 0.0008 | 0.0004 | 0.0005 | 0.00028868 | 0.05 | 0.028868 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
80 | #DIV/0! | #DIV/0! | 0.0008 | 0.0004 | 0.0005 | 0.00028868 | 0.05 | 0.028868 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
120 | #DIV/0! | #DIV/0! | 0.016 | 0.008 | 0.005 | 0.0028868 | 0.05 | 0.028868 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
160 | #DIV/0! | #DIV/0! | 0.032 | 0.016 | 0.005 | 0.0028868 | 0.05 | 0.028868 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
200 | #DIV/0! | #DIV/0! | 0.048 | 0.024 | 0.005 | 0.0028868 | 0.05 | 0.028868 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CounterClock Wise Direction ( CCW )
Nominal Value | Repeatability |  | Uncertainty of STD |  | Resolution of STD |  | Resolution of UUc |  | Uc | Ui | Veff | K95 | U95%
N.m | N.m |  | N.m |  | N.m |  | N.m | [5 empty] | N.m
Value | Value | Ui | Value | Ui | Value | Ui | Value | Ui | Value | Value | Value | Value | Value
40 | #DIV/0! | #DIV/0! | 6.9 | 3.45 | 0.005 | 0.0028868 | 0.05 | 0.028868 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
80 | #DIV/0! | #DIV/0! | 5.84 | 2.92 | 0.005 | 0.0028868 | 0.05 | 0.028868 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
120 | #DIV/0! | #DIV/0! | 4.8 | 2.4 | 0.005 | 0.0028868 | 0.05 | 0.028868 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
160 | #DIV/0! | #DIV/0! | 3.76 | 1.88 | 0.005 | 0.0028868 | 0.05 | 0.028868 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
200 | #DIV/0! | #DIV/0! | 2.54 | 1.27 | 0.005 | 0.0028868 | 0.05 | 0.028868 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Note on E4: Certificate of Calubration Static Torque Transducer
Note on D6: Divisor = 1
Note on F6: Divisor = 2
Note on H6: Divisor = √3
Note on J6: Divisor = √3
Note on E14: Certificate of Calubration Static Torque Transducer
Note on D16: Divisor = 1
Note on F16: Divisor = 2
Note on H16: Divisor = √3
Note on J16: Divisor = √3

## Cert of STD
Digital Torque Meter |  |  |  |  | Static Torque Transducer |  |  |  |  | Static Torque Transducer
SP-SM-008 |  |  |  |  | SP-SM-009 |  |  |  |  | SP-SM-010
Due Date |  |  |  |  | Due Date |  |  |  |  | Due Date
2016-08-24 |  |  |  |  | 2016-08-25 |  |  |  |  | 2016-08-25
Clockwise | 0.2 | N.m | 0.0008 | N.m | Clockwise | 20 | N.m | 0.016 | N.m | Clockwise | 200 | N.m | 3.12 | N.m
| 0.4 | N.m | 0.0008 | N.m |  | 40 | N.m | 0.032 | N.m |  | 400 | N.m | 3.52 | N.m
| 0.6 | N.m | 0.0008 | N.m |  | 60 | N.m | 0.048 | N.m |  | 600 | N.m | 3.9 | N.m
| 0.8 | N.m | 0.0008 | N.m |  | 80 | N.m | 0.064 | N.m |  | 800 | N.m | 4.4 | N.m
| 1 | N.m | 0.0008 | N.m |  | 100 | N.m | 0.08 | N.m |  | 1000 | N.m | 5 | N.m
Anti-Clockwise | -0.2 | N.m | 0.0008 | N.m | Anti-Clockwise | 20 | N.m | 0.016 | N.m | Anti-Clockwise | 200 | N.m | 2.54 | N.m
| -0.4 | N.m | 0.0008 | N.m |  | 40 | N.m | 0.032 | N.m |  | 400 | N.m | 3.76 | N.m
| -0.6 | N.m | 0.0008 | N.m |  | 60 | N.m | 0.048 | N.m |  | 600 | N.m | 4.8 | N.m
| -0.8 | N.m | 0.0008 | N.m |  | 80 | N.m | 0.064 | N.m |  | 800 | N.m | 5.84 | N.m
| -1 | N.m | 0.0008 | N.m |  | 100 | N.m | 0.08 | N.m |  | 1000 | N.m | 6.9 | N.m
Note on B3: 0 - 1 N.m
Note on H3: 0 - 100 N.m
Note on N3: 0 - 1000 N.m (Max 1500N.m)
Note on C6: Nathaphol Boonmee: Normal Value
Note on E6: Update Uncertainty ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on I6: Nathaphol Boonmee: Normal Value
Note on K6: Update Uncertainty ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง
Note on O6: Nathaphol Boonmee: Normal Value
Note on Q6: Update Uncertainty ที่ได้จากการสอบเทียบล่าสุดทุกครั้ง